Terms of References (TOR) For Selection of Consultants for GW Potential Assessment, Detail Reconnaissance Hydrogeological Study, GW Feasibility Study, Contract Administration & Supervision of Drilling in 15 Sub Project Areas in five (5) Lots.

Procurement Reference No. ET-MOWE-326025-CS-QCBS

Lot 1. Groundwater Potential Assessment of Mota-Mekaneselam Area, Amhara Region

LOT 2. Groundwater Potential Assessment of Jerer Area, Somali Region

LOT 3. Groundwater Potential Assessment of Woito

Area (Part of Upper Omo Basin), SNNP Region

Lot 4. Groundwater Potential Assessment of Asasa-

Bokoji-Arsi Robe-Gololcha Area, Oromia Region

LOT 5. Groundwater Potential Assessment of

Upper Blate Catchment, SNNP Region

- Lot 1. Groundwater Potential Assessment of Mota-Mekaneselam Area, Amhara Region

FEDERAL DEMOCRATIC REPUBLIC OF ETHIOPIA

MINISTRY OF WATER AND ENERGY

Terms of Reference for

Groundwater Potential Assessment of Mota-Mekaneselam Area, Amhara Region

June 2023

Addis Ababa

Table of Contents

1.	Background	1

2.	General Objective	3

3.	The Project Area	5

4.	Methodology	6

5.	Reporting and schedule of Deliverables	14

6.	Organization of the assignment	16

7.	Qualification and Experience of Key personnel	16

# Background

Groundwater is able to create drought resilience, improve the welfare of the population, to utilize the land resources and for sustainable agricultural production. In this regard, the use of groundwater for water supply and/or irrigation practices is expected to result in far reaching implication in ensuring food security for urban and the rural community. The Project is part of a regional HoA initiative that aims to strengthen the resilience of targeted communities through the management and collaborative use of the groundwater resources and is funded by the World Bank.

Water insecurity is a growing concern globally, especially in developing countries, where a combination of population growth, urbanization, changing consumption patterns along with improved living standards, and climate change variability put increasing pressure on water supply systems. Development of groundwater scheme has received considerable attention in recent years. However, in many such instances, the expansion of groundwater development has not been preceded or accompanied by systematic studies to evaluate the resource potentials of the respective aquifers.

Exploration of groundwater potential has been undertaking with a very good results in different parts of Ethiopia. So far, many groundwater resource assessment and evaluation projects covering broad areas were completed mainly by the Ministry of Water and Energy, UNICEF and ATA. These include Raya-Kobo-Girana (Northern), Teru-Chifra (North Eastern), Allaidege (Main Ethiopian Rift), Meskan-Mareko-Silte, Lower Bilate (Rift Valley), Adaa-Becho-Addis Ababa (Central), Fafem-Jerer (Eastern) and Ambo-Welkite (Western) areas groundwater resource assessment and evaluation projects are the major ones completed in the past. Of these, the water supply source of Addis Ababa City and its surrounding towns is mainly from groundwater (about 60 to 70%).

Therefore, in order to derive the optimum benefit from a groundwater scheme, a proper resource study has to be carried out. However, unlike surface water processes, most of the groundwater activity is invisible in the strata that lie below the ground surface. Measurement and monitoring of groundwater flow are therefore extremely difficult. Therefore, in order to minimize most of the simplifying assumptions in groundwater assessment programs, several integrated exploration approaches should be applied. As part of the integrated approach to groundwater exploration, combination of geological, hydrological, hydrogeological and geophysical exploration tools needs to be implemented.  Groundwater recharge is an essential component of such investigation and therefore must be estimated before attempting to develop the groundwater model of an area. Hence, the core and ultimate goal regarding this project shall be to estimate the quantity and investigate the quality of the groundwater available in an area for water supply and/or irrigation development.

The proposed studies shall be carried out in five phases. The first phase (Phase-I) of the investigation is the inception phase composed of review of previous works, overlay analysis to determine groundwater prospective areas, develop conceptual hydrogeological model, preliminary field visit and submission of Inception report. The second phase (Phase-II) comprises field hydro-geophysical surveys in specified target areas to select sites for test and/or pilot production wells, drilling and testing. During the third phase (Phase-III), detail hydrogeological investigation shall be conducted at a specific target area with the aid of test and/or pilot production wells that shall be drilled and tested to assess the groundwater resource; evaluation and management activities that includes determination of aquifer parameters and estimation of total exploitable groundwater resource together with analytical and/or numerical groundwater modelling used for groundwater management shall be carried out. The final activities are preparation of Groundwater Database in Phase-IV, and information dissemination and capacity building in Phase-V.

# General Objective

The general objective of the investigation is to determine the potential (prospective) groundwater sites for groundwater development for intervention of the current and future water demand under consideration of the climate change impacts.

The specific objectives of the study are summarized as follows:

- Undertake water demand assessment for multipurpose utilization.

- Determine the hydrogeological condition of the area: identify sites, evaluate recharge and discharge conditions, delineate spatial distribution of different aquifers, determine hydraulic parameters, analyse water quality of the aquifers and assess impacts of future exploitation of the potential aquifers.

- Qualitative and quantitative evaluation of the groundwater resources on selected potential sites or prospective areas

- Bidding document preparation for drilling and testing of test/pilot production wells

- Supervision of test and/or pilot production wells drilling and testing

- Carry out analytical and/or numerical model of the main aquifer of the area to recommend appropriate groundwater exploitation and management

- Evaluate the groundwater resources and develop strategy of groundwater resources development with their cost estimates.

- Create detailed groundwater resource potential maps

- Identify promising areas for groundwater development

- Conduct enhancement of the national groundwater database and carry out massive processing and uploading of existing data collected from all over the country

- Build the capacity of MoWE and Regional Water Bureaus by providing on-the-job training and short courses in groundwater exploration, development and management.

# The Project Area

The proposed study area is situated in Amhara Regional State and areas surrounding of Mota and Mekaneselam villages, which covers about 27 Woredas. Its elevation is approximately in the range of 1449 and 3440m.a.s.l with coordinates UTM Zone 37 (36-42-North Hemisphere) 300152E to 513433E and 1128172N and1321540N and covers an area of about 20000 km2. The study area is situated entirely within Abay Basin.

Figure 1: Project area location

# Methodology

The proposed methodology for the groundwater resources investigation is an integrated approach set up for data collection, review, field survey, identification, selection and evaluation of prospective sites/well fields. The proposed study should focus on evaluation of the groundwater potential through detailed, comprehensive and integrated methods and will be completed in five phases:

Phase-I: Inception

Phase II- Field Survey of Target Areas

Phase-III: Drilling and Groundwater Resources Evaluation

Phase IV: Groundwater Database Preparation

Phase V: Capacity Building and Information Dissemination

- Phase-I: Inception

Phase-I (Inception) includes preliminary collection and review of existing data from previous works of the area or at near vicinities such as geological (maps 1:250,000 and 1: 50,000 scales), Hydrogeological data (complete borehole data including pump test data), Hydro-metrological data such as (rainfall, Daily maximum and minimum temperature, Relative humidity, wind speed, Sunshine duration and etc.) and Geophysical data such as (VES, TDEM/TEM, MAGNETIC preceded by overlay analysis, preliminary conceptualize hydrogeological setup of the study area, preliminary site visit, preparation of draft Inception report, validation workshop and submission of final inception report shall be conducted.

Preliminary Data Collection and Review

Available geomorphological, geological, hydrogeological, and other maps together with study reports and data will be collected and studied; any available relevant satellite imagery interpretation will be carried out to conceptualize the hydrogeological setup of the area (scale 1:250,000) and finally preliminary conceptual groundwater map of the study area after overlay analysis will be prepared to facilitate the field visit.

Overlay Analysis

Due to large coverage of the area, an overlay analysis is very important to identify specific target locations for aquifer recharging sites (dam & ponds with accessory canals) and monitoring points. An overlay analysis is used also to determine recharge zones where recharge is very effective, environmentally vulnerable areas for land degradation where siltation is hazardous for future dams using weighted overlay analysis aggregate input layers under the GIS environment.

The general steps involve:

- Preparation of physical thematic layers required for multi criteria overlay analysis of study area.

- Determining the significant layers

- Reclassifying or transforming the data within a layer

- Weighting the input layers

- Adding or combining the layers

- Analyzing the result and delineation of the groundwater potential zones.

Preliminary Conceptualization of the Hydrogeology

Development of preliminary conceptual models (hydrogeological cross-sections) of the area for a better understanding of the regional groundwater system based on existing information and overlay analysis outputs will be carried out.

Field Visit

After having the analysis of previous data in combination with the overlay analysis, preliminary site visit should be carried out to ascertain what was interpreted at the office level. Accordingly, site visit will be organized for at least a week to familiarize with the study area, enhance and update the conceptual hydrogeological map. The main purpose of the field visit is to enhance the conceptual understanding of the groundwater system, to verify the geological setting of the prospective groundwater sites and its surrounding area, and to plan more appropriately the subsequent phases (such as site selection for carrying out geophysical survey). Besides, water demand assessment will be carried out in consultation with stakeholders (Regional as well as Zonal/Woreda and local officials/communities).

Inception Report and Workshop

Subsequently, all gathered hydrological, climatological, hydrogeological, geological information and data shall be reviewed and preliminary analysis shall be done integrated with the outcome of the field visit. The main outputs of the Inception will be but not limited to:

- Preliminarily reviewed and analysed previous studies and data

- Identified specific target areas for detail groundwater potential investigation using overlay analysis,

- Prepared different possible conceptual groundwater flow system models of the area,

- Enhanced existing groundwater database and uploaded data,

- Preliminary hydrogeological and groundwater potential maps at a scale of 1:250,000,

- Different formats prepared for collection of existing data and information, which includes format for existing water points inventory (water wells, springs, rivers, reservoirs, etc.)

- Identified data gaps and revised methodology and volume of work for the next phases.

- Present findings of the draft inception phase at a validation Workshop-1. All cost of the venue and client-side Participants of workshop shall be covered by the client and place of work shop shall be as appropriate. Numbers of participants may be till 60 but all fee of the participants from the consultant side (transportation and per diem will be covered by the Consultants)

- Prepare and submit Final Inception Report based on the outcome of Workshop-1.

- Phase-II: Field Survey of Target Areas

At this stage, site specific investigations to be carried out includes geological and geomorphological, hydrological, geophysical survey and hydrogeological investigation with exploratory and or production wells drilling and testing to verify the groundwater potential of the area for further activities.

- Geological and Geomorphological Survey

The geological mapping with a scale of 1:250,000 from phase-1 is the base map for this stage specific areas study to prepare a 1:100,000 scale maps. These maps will be the base map for the preparation of the hydrogeological map of the study area. Geological and geomorphological survey to be carried out with field geological assessment along different traverses to determine:

- Classification of all the rock types and establishment of the stratigraphic relations of litho-stratigraphic units at a scale of 1:100,000 for the selected specific prospective areas.

- Determination of the lateral and vertical extent of litho-stratigraphic units.

- Identification and mapping of all geological structures.

- Determination of the major structures (faults, lineaments, folds, dykes and etc.) having important hydrogeological implications.

- Preparation of geological sections along zones of likely high groundwater flow paths.

- Close observation on the texture, cementation, porosity and general lithostratigraphy of the geological formations at the local sites (geological characterization).

- Other activities which may be required for comprehensive geological investigations.

- Hydrological Study

The main objective of hydrological study is to characterize available rivers/streams within or adjacent to the detailed study areas and assessments on recharge possibilities, accounting of all factors influencing the catchment area, the existence of springs at regional and local scales, and their hydrogeological implications, surface, and groundwater relationships. Hydro-meteorological Studies shall be carried out using:

- Collection, checking of data consistency and analysis of the last 10-years hydro-meteorological data used to know the rainfall-runoff characteristics, to study the climate variability of the area.

- Analyses of hydrological data to determine surface water-groundwater interaction.

- Estimation of groundwater recharge using base flow separation, water balance, Wets pass approaches based on available data (Land Use-Land cover, soil, slope, drainage, groundwater level, permeability...etc.)

- Geophysical Investigation

The main objective of the geophysical investigation is to determine:

- Thickness of different geological formation

- Depth to the groundwater

- Qualitative and/or quantitative evaluation of degree of salinity of the groundwater

- To identify geological structures

- To identify depth to aquifer and determine aquifer thickness

- Spatial variation related to hydraulic properties of the different lithologic units.

- Preparation of Geophysical report with pseudo and geoelectric sections

- To recommend exploratory and/or production well sites for drilling and testing based on the geophysical analysis and interpretation.

It is proposed to carry out geophysical investigation of Vertical Electrical Sounding (VES) and magnetic survey over all of the specific areas along different profiles to obtain subsurface information. VES are recommended in order to identify the resistivity contrast between the different zones of aquifers. Besides this, magnetic survey shall be carried out to identify geological structures and the possible contact with the underling formations.

Although the quantity of VES and Magnetic survey may be increased or decreased based upon the Phase-I output, here in the Phase-II, it is recommended to carry out a total of about 120 VESs AB/2 >= 1000 meters at 2 kilometres interval along the traverse lines and magnetic survey at three of these traverse lines for a total length of 60 km.

- Environmental and Social Impact Assessment

The purposes of conducting environmental and social impact assessment are:

- To assess the baseline condition of the project area,

- To understand the social and environmental situation of the project and asses the planned project implementation and its impact.

- To propose mitigation measures for the expected impacts.

- To carryout Stakeholders interview/discussion related to water demand for domestic, irrigation as well as industries in the target area(s)

- Water Quality Survey

The water quality survey collected shall be conducted for hydro-geochemical characterization of the area and analyse the water samples for the suitability of the water source for domestic and irrigation use.

Water samples shall be collected systematically from surface water bodies (rivers, ponds, reservoirs), springs, dug wells and existing wells in the study area. The water sampling points shall be chosen on the basis of the study results from the regional hydrogeological, geological, structural and tectonic setup of the area. The main parameters to be determined are:

In-situ field measurement of electrical conductivity (EC), pH and water sampling from different water sources (boreholes, hand dug wells, springs, rivers and streams).

Physico-chemical analysis of water samples shall be analysed according to “Standard Methods for the examination of water and Wastewater” published by WPCF/AWWA/APHA 16th edition in laboratory.

A total of about 100 samples shall be collected from all available sources in order to:

- Characterize the chemical composition of the aquifers within and surroundings to determine the recharge and discharge areas

- Identify groundwater pollution sources using available spatial information and additional analysis, where required

- Determine the spatial distribution of groundwater quality maps (EC, TDS, SAR…)

- Characterize the groundwater of the study area, its suitability for domestic water supply based on Ethiopian Drinking Water and WHO standards and for irrigation based on Sodium Adsorption Ratio (SAR) and the United States Salinity Laboratory (USSL).

- Hydrogeological Study and Workshop

For further familiarization and visualization of the groundwater condition of the area, it is proposed to conduct detail hydrogeological surveys in the specific target areas. The hydrogeological surveys mainly include but not limited to the following:

- Inventory of springs, wells and all boreholes and records of their geographic locations (taken by GPS) with labelled codes.

- Identify major aquifers, define their possible extent based on the available data and field inspection combined with the geological data

- Hydrological/hydrogeological observations and measurements of water level (groundwater level observations) from boreholes with their discharge measurements where applicable.

- A field observation on the geomorphology, land use, vegetation, and geological structures

- Field observation and mapping of groundwater manifestation horizons like seepage zones, spring, etc, and groundwater flow directions.

- Assessment/evaluations of recharge conditions for the area for its sustainable utilization

- Regional view and understanding of the groundwater system of the specific target area/s

- Estimation of the hydraulic properties of the aquifers

- Other basic data/parameters that may be revealed during the study

- Make analysis of groundwater level data and geological setup to determine the groundwater flow direction and zones of aquifer-surface water interactions.

- Map and verify Hydrogeological boundaries and units (hydrogeological mapping at 1:100,000).

- Proposal (selection) of exploratory and/or pilot production well sites to be drilled and tested for phase-III activities based on the updated overall information including geophysical analysis and interpretation result

- Bidding document preparation for test and/or pilot production wells drilling and testing.

- Present and discuss findings and prospective drilling sites to stakeholders of the Phase-II at a validation workshop-2

- Prepare and submit the final Phase-II report based on the outcome of the workshop

- Phase-III: Drilling and Groundwater Resources Evaluation

Groundwater resource evaluation of specific target area shall be carried out by using supervision of test and/or pilot production wells drilling and testing. In this stage, eight (8) test and/or pilot production wells will be drilled and tested and used for groundwater resource evaluation. Such wells are also very important to generate site specific hydrogeological data (aquifer characterization) and they are also usable for water supply for the community domestic/ irrigation use (double importance). The Consultant should undertake the following tasks during the drilling and testing supervision activity;

- Contract administration (project duration, activity dependency, critical logistics)

- Supervise the drilling and testing activity of eight (8) test/pilot production wells from the very beginning up to the end as per the specification (Drilling, casing installation, well development, pumping test, etc.).

- Measure and collect important data during drilling of the test wells (EC, TDS, temperature of the gashing out water and/or drilling fluid), the rate of drilling, or any situations (caving, water loss, etc.) encountering while the drilling is in progress

- Supervise the borehole-geophysical logging work and analyse the result in correlation with lithological log, and prepare casing arrangement accordingly

- Check and certify payment certificates, manage the cost of the project

- Prepare borehole completion report, including Vertical section drawings of completed borehole together with geologic log, pumping test data and their analysis, water quality and their analysis, etc. and then submit to the Client.

Groundwater Resource Evaluation

The groundwater resource evaluation in this stage is mainly based on the outcome from the drilling and testing of the eight (8) test/pilot production wells with the following specific points to be achieved by carrying out detail Hydrogeological Investigation:

- Interpretation and calibration of the geophysical survey results using drilling results of the test and/or pilot production wells

- Detail investigation of the hydrogeological system

- Aquifer characterization and determination of aquifer parameters

- Delineation of the main aquifer

- Evaluation of the quantity and quality of groundwater

- Determination of rational technical and economical distribution of production wells for future drilling

- Analytical and/or numerical groundwater model

- Map and verify hydrogeological boundaries and units (hydrogeological mapping at 1:50,000 based on the extent of potential areas)

- Characterize the intra and inter annual groundwater recharge dynamics under the current and predicted effects of climate change

- Estimation of the total exploitable groundwater resources

- Assess the temporal changes in groundwater levels under current and future climate change scenarios (under the current and predicted effects of climate change).

- Present and discuss findings to stakeholders of the Phase-III at a validation Workshop-3

- Prepare and submit the final Phase-III report based on the outcome of the Workshop

- Phase-IV: Groundwater Database Preparation

The existing groundwater database available at the Ministry of Water and Energy (ENGDA, ENGWIS and the recently completed web-based groundwater information system developed by Acacia Waters and Aquacon Engineering, which is currently hosted by Ministry of Innovation and Technology) and others if any shall be reviewed, updated and enhanced. All data generated during this study shall be uploaded into the new database system.

- Phase V: Capacity Building and Information Dissemination

Ten (10)-days training will be organized and provided by the Consultant for at least 20 participants from Ministry of Water Groundwater experts and Hydrogeologists from Regional Water Bureaus.  All costs for the venue and participants will be covered by the Consultant in at least three-star Hotel. The place shall be selected as appropriate by consent of Client.  The training participants will be from relevant stakeholders to explain the steps of groundwater resource assessment and evaluation to ensure that the hydrogeological investigation work can continue in this way in the country. This training will require the steps of groundwater mapping, the interpretation of the remote sensing overlays, the weighting process for the different layers and the final interpretation of the maps for targeting well prospects, integrating borehole and surface geophysical information. It will also cover basics of groundwater modelling, three-dimensional model setup, and analysis of the simulation results (groundwater recharge and groundwater level, current and future scenarios). The Consultant will provide all material and software for the training.

The main component of this phase is to train staffs of the Ministry of Water and Energy involved in groundwater resource assessment and management and Water Management Zones on concepts, techniques for assessment and management of groundwater resources.

Proposed Equipment and Software for the study

The Consultant shall avail the following equipment and other relevant kits for the survey:

- IRS Syscal junior system resistivity meter

- GSM-19 Magneto meter

- Tomographic geophysical survey (Imaging)

- Measuring tape

- Magnifying lens

- CCTV

- Caliper

- Compass

- Clinometers

- GPS

- Geologic Hammers

- Deep meter 200 and 300 m

- EC-meter

- Land sat / Spot imageries of the study area

- First aid kit

- Laptop

Computer Software

- Groundwater Modelling Software (3D Visual Mod flow 15.1 and/or Modflow pro, GMS)

- Software for Interpretation of Geophysical survey results

- AutoCAD

- GIS and Image processing software (ArcGIS and ERDAS)

- HydroGeoAnalyst 2016 for data management

Ministry of Water and Energy shall disseminate all generated data, maps and information to be ready for website uploading/printable version based on data and information sharing policy and regulation.

# Reporting and Schedule of Deliverables

The consultancy service is expected to last for a maximum of 14-months. Of this, 6-months are allocated for drilling and testing supervision of eight (8) test and/or pilot production wells to evaluate the groundwater resource. The drilling and testing result will be used to realize the achievement of overall hydrogeological investigation and it has to be completed within the allocated time. It is, however, the responsibility of the Consultant to establish a detailed work program within the above time frame, taking into consideration the estimated man-month requirements. This should be guided by their professional judgment of the assignment’s requirements and knowledge of the local conditions and needs.

| Item No. | Deliverable (Report) | Deliverable Contents to be included but not limited to | Number of Copies | Time frame (M-Month) | Payment Schedule |
| --- | --- | --- | --- | --- | --- |
| 1 | Draft Inception report (Phase-I) | The report includes: Intensive review of available documents and collected data, different thematic layers for multi-criteria overlay analysis delineated groundwater potential zones preliminary conceptualized hydrogeological models (X-sections and hydrogeological maps 1:250,000), identified data gaps for further phase works and proposed methodology and final work plan for the next phases | 5 | M+1.5 | - |
| 2 | Final Inception report (Phase-I) | Final inception report submission after incorporating comments/feedbacks of Workshop-1 | 5 | M+2 | 30% |
| 3 | Draft field survey report for selected prospective area (s) (Phase-II) | Comprises; inventory water points data, identified aquifers, source, rate and mechanism of recharge, discharge condition, geological and hydrogeological maps (1:100,000) with x-sections, geophysical, geo-electrical & pseudo-sections, regional as well as local groundwater flow systems, estimated hydraulic properties of identified aquifers, surface-groundwater interaction conditions, maps showing selected sites for test and/or pilot production wells drilling and testing, bid and drilling specification documents | 5 | M+4.5 | - |
| 4 | Final field survey report (Phase-II) | Final field surveys report submission after incorporating comments/feedbacks from the Workshop-2 | 5 | M+5 | 40% |
| 5 | Draft groundwater resource evaluation report (Phase-III), Developed Groundwater database (Phase-IV) and Training manual (Phase-V) | Draft detail hydrogeological investigation and analytical/numerical groundwater flow modelling for specific target sites/well fields comprises mainly; major aquifers, hydrogeological maps (1:50,000) & X-sections, estimated total exploitable groundwater resource, groundwater recharge and water level dynamics under current and predicted climate changes, drilling of selected production well sites for intended purpose, Enhanced groundwater database, and Training manuals and 20-trained and capacitated participants | 5, 20-training manuals | M+13 | - |
| 6 | Final groundwater resource evaluation report (Phase-III) | Final groundwater resource evaluation report after incorporation of comments and suggestions from Workshop-3 | 5 | M+14 | 30% |
| 7 | 3-workshops | At the end of Phase-I, II and -III | - | M+1.5, M+4.5 and M+13 |  |

All reports shall be submitted in both soft (MS Word, PDF) and hard copies. The hard copies will be prepared in A4 format, except for plans and drawings which should be prepared in A3 format. In addition, maps have to be prepared with A0 size paper. The reports should be clearly labelled, i.e., title of the study indicated, for easy identification and documentation purposes. All reports shall be prepared in the English language. Please note that the Consultant will be expected within one (1) week of submission of draft reports (Phase-I, II, III) to make presentations to the respected stakeholders. At each workshop, the Consultant shall make Power Point presentations, provide concise background documents for discussion and prepare workshop reports to document the proceedings. All cost of the venue and client-side Participants of workshop will be covered by the client and place of work shop shall be as appropriate. Numbers of participants may be till 60 but all fee of the participants from the consultant side (transportation and per diem will be covered by the Consultants).

# Organization of the Assignment

Ministry of Water and Energy coordinate and manage the overall activities and all deliverables shall be submitted to them. Project coordinators shall be appointed by the Ministry to supervise the implementation of the entire works and coordinate the day-to-day activities.

The Consultant is required to elaborate in his technical offer on the envisaged logistical set-up and deployment of appropriate skills for the execution of the assignment. The consultant should carefully review the scope of works and propose a team of well-organized competent staff, adequately equipped with the necessary skills/facilities to execute the assignment, bearing in mind that a substantial amount of work in this assignment is field based.

# Qualification and Experience of Key Personnel

The Consultant shall identify and deploy a team necessary to carry out the assignment and should describe clearly the functions of each team member. The Consultant is however expected to provide a team, composed of the following key staff. The Consultant has the right to propose additional staff/competencies/short-term specialists as deemed appropriate for the successful execution of the assignment.

Table 1: Professional Requirement

| No | Job Title | # | Qualification and Education | Specific Experiences | General Experience | Time-Month |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Project Manager/ Team Leader | 1 | MSc in Hydrogeology/ Water Resources Engineering | At least 10 years of specific experiences in hydrogeology and groundwater development management of which 3 years in management of drilling operation and contract administration works | At least 13 years of general experience in Infrastructure Construction, Study and Design of Water Supply in WaSH/WRM/ Irrigation or construction sectors | 14 |
| 2 | Senior Hydrogeologist | 1 | MSc in Hydrogeology | At least 10 years of specific experiences in hydrogeological investigation and groundwater development and drilling work supervision | At least 12 years of general experience in Mining, Study and Design of Water Supply in WaSH/WRM/ Irrigation or Mining and drilling sectors | 14 |
| 3 | Senior Geophysicist | 2 | MSc in Geophysics or related fields | At least 8 years experiences in geophysical application to water source mapping (groundwater investigation and borehole logging), analysis and interpretation | At least 10 years general experiences in geophysics and groundwater exploration in WaSH/ WRM/ Irrigation or construction sub sectors | 5 |
| 4 | Senior Geologist | 2 | MSc in Geology | At least 10 years of specific experience in geological investigation related to groundwater applications | At least 13 years of general experiences in geological and geomorphological mapping works in WaSH/WRM/Irrigation or construction sectors | 5 |
| 5 | Senior Hydrologist | 1 | M.Sc. in Hydrology/ Water Resource Engineering/ Hydraulics Engineering or related fields | At least 10 years of specific experience in hydrological study and water supply works | At least 13 years of general experience in hydrological works in WaSH/WRM/Irrigation/ Mining /drilling sub sectors | 5 |
| 6 | Senior RS & GIS Expert | 1 | MSc in RS & GIS or related fields | At least 10 years of GIS, Remote Sensing or relevant mapping experience in water supply works | At least 12 years of general experience in GIS and Remote Sensing WaSH/WRM/ Irrigation or construction sectors | 5 |
| 7 | Supervising Hydrogeologists | 5 | BSC/MSc in Geology/ Hydrogeology | At least 10/8 years specific experiences in supervision of drilling and construction of deep-water wells and contract administration works | At least 12/10 years general experiences in geological and water works study design in WaSH/WRM/Irrigation or construction sectors | 12 |
| 8 | Senior Socio-Economist | 1 | MSc in Sociology or related fields | At least 8-years of specific experiences in socio-economic study works in the water sector | At least 10-years of general experiences in socio-economic study and design of Water supply projects of WaSH/WRM/Irrigation or construction sectors | 5 |
| 9 | Senior Environmentalist | 1 | MSc in Environmental Engineering or related fields | At least 8-years of specific experiences in Environmental study works in the water sector | At least 10-years of general experience in Environmental study and design of Water supply projects of WaSH/WRM/Irrigation or construction sectors | 5 |

- LOT 2. Groundwater Potential Assessment of Jerer Area, Somali Region

FEDERAL DEMOCRATIC REPUBLIC OF ETHIOPIA

MINISTRY OF WATER AND ENERGY

Terms of Reference for

Groundwater Potential Assessment of Jerer Area, Somali Region

June 2023

Addis Ababa

Table of Contents

1.	Background	2

2.	General Objective	3

3.	The Project Area	5

4.	Methodology	6

5.	Reporting and schedule of Deliverables	14

6.	Organization of the assignment	16

7.	Qualification and Experience of Key personnel	16

# Background

Groundwater is able to create drought resilience, improve the welfare of the population, to utilize the land resources and for sustainable agricultural production. In this regard, the use of groundwater for water supply and/or irrigation practices is expected to result in far reaching implication in ensuring food security for urban and the rural community. The Project is part of a regional HoA initiative that aims to strengthen the resilience of targeted communities through the management and collaborative use of the groundwater resources and is funded by the World Bank.

Water insecurity is a growing concern globally, especially in developing countries, where a combination of population growth, urbanization, changing consumption patterns along with improved living standards, and climate change variability put increasing pressure on water supply systems. Development of groundwater scheme has received considerable attention in recent years. However, in many such instances, the expansion of groundwater development has not been preceded or accompanied by systematic studies to evaluate the resource potentials of the respective aquifers.

Exploration of groundwater potential has been undertaking with a very good results in different parts of Ethiopia. So far, many groundwater resource assessment and evaluation projects covering broad areas were completed mainly by the Ministry of Water and Energy, UNICEF and ATA. These include Raya-Kobo-Girana (Northern), Teru-Chifra (North Eastern), Allaidege (Main Ethiopian Rift), Meskan-Mareko-Silte, Lower Bilate (Rift Valley), Adaa-Becho-Addis Ababa (Central), Fafem-Jerer (Eastern) and Ambo-Welkite (Western) areas groundwater resource assessment and evaluation projects are the major ones completed in the past. Of these, the water supply source of Addis Ababa City and its surrounding towns is mainly from groundwater (about 60 to 70%).

Therefore, in order to derive the optimum benefit from a groundwater scheme, a proper resource study has to be carried out. However, unlike surface water processes, most of the groundwater activity is invisible in the strata that lie below the ground surface. Measurement and monitoring of groundwater flow are therefore extremely difficult. Therefore, in order to minimize most of the simplifying assumptions in groundwater assessment programs, several integrated exploration approaches should be applied. As part of the integrated approach to groundwater exploration, combination of geological, hydrological, hydrogeological and geophysical exploration tools needs to be implemented.  Groundwater recharge is an essential component of such investigation and therefore must be estimated before attempting to develop the groundwater model of an area. Hence, the core and ultimate goal regarding this project shall be to estimate the quantity and investigate the quality of the groundwater available in an area for water supply and/or irrigation development.

The proposed studies shall be carried out in five phases. The first phase (Phase-I) of the investigation is the inception phase composed of review of previous works, overlay analysis to determine groundwater prospective areas, develop conceptual hydrogeological model, preliminary field visit and submission of Inception report. The second phase (Phase-II) comprises field hydro-geophysical surveys in specified target areas to select sites for test and/or pilot production wells, drilling and testing. During the third phase (Phase-III), detail hydrogeological investigation shall be conducted at a specific target area with the aid of test and/or pilot production wells that shall be drilled and tested to assess the groundwater resource; evaluation and management activities that includes determination of aquifer parameters and estimation of total exploitable groundwater resource together with analytical and/or numerical groundwater modelling used for groundwater management shall be carried out. The final activities are preparation of Groundwater Database in Phase-IV, and information dissemination and capacity building in Phase-V.

# General Objective

The general objective of the investigation is to determine the potential (prospective) groundwater sites for groundwater development for intervention of the current and future water demand under consideration of the climate change impacts.

The specific objectives of the study are summarized as follows:

- Undertake water demand assessment for multipurpose utilization.

- Determine the hydrogeological condition of the area: identify sites, evaluate recharge and discharge conditions, delineate spatial distribution of different aquifers, determine hydraulic parameters, analyse water quality of the aquifers and assess impacts of future exploitation of the potential aquifers.

- Qualitative and quantitative evaluation of the groundwater resources on selected potential sites or prospective areas

- Bidding document preparation for drilling and testing of test/pilot production wells

- Supervision of test and/or pilot production wells drilling and testing

- Carry out analytical and/or numerical model of the main aquifer of the area to recommend appropriate groundwater exploitation and management

- Evaluate the groundwater resources and develop strategy of groundwater resources development with their cost estimates.

- Create detailed groundwater resource potential maps

- Identify promising areas for groundwater development

- Conduct enhancement of the national groundwater database and carry out massive processing and uploading of existing data collected from all over the country

- Build the capacity of MoWE and Regional Water Bureaus by providing on-the-job training and short courses in groundwater exploration, development and management.

# The Project Area

The proposed study area is situated in Somali Regional State and areas surrounding Jerer Valley, which covers about 10 Woredas. Its elevation is approximately in the range of 680 and 2990m.a.s.l with coordinates UTM Zone 38 (42-48 North Hemisphere) 204667E to 424565E and 836643N and1058492N and covers an area of about 10,514 km2. The study area is situated entirely within Wabishebele Basin.

Figure 1: Project area location

# Methodology

The proposed methodology for the groundwater resources investigation is an integrated approach set up for data collection, review, field survey, identification, selection and evaluation of prospective sites/well fields. The proposed study should focus on evaluation of the groundwater potential through detailed, comprehensive and integrated methods and will be completed in five phases:

Phase-I: Inception

Phase II- Field Survey of Target Areas

Phase-III: Drilling and Groundwater Resources Evaluation

Phase IV: Groundwater Database Preparation

Phase V: Capacity Building and Information Dissemination

- Phase-I: Inception

Phase-I (Inception) includes preliminary collection and review of existing data from previous works of the area or at near vicinities such as geological (maps 1:250,000 and 1: 50,000 scales), Hydrogeological data (complete borehole data including pump test data), Hydro-metrological data such as (rainfall, Daily maximum and minimum temperature, Relative humidity, wind speed, Sunshine duration and etc.) and Geophysical data such as (VES, TDEM/TEM, MAGNETIC preceded by overlay analysis, preliminary conceptualize hydrogeological setup of the study area, preliminary site visit, preparation of draft Inception report, validation workshop and submission of final inception report shall be conducted.

Preliminary Data Collection and Review

Available geomorphological, geological, hydrogeological, and other maps together with study reports and data will be collected and studied; any available relevant satellite imagery interpretation will be carried out to conceptualize the hydrogeological setup of the area (scale 1:250,000) and finally preliminary conceptual groundwater map of the study area after overlay analysis will be prepared to facilitate the field visit.

Overlay Analysis

Due to large coverage of the area, an overlay analysis is very important to identify specific target locations for aquifer recharging sites (dam & ponds with accessory canals) and monitoring points. An overlay analysis is used also to determine recharge zones where recharge is very effective, environmentally vulnerable areas for land degradation where siltation is hazardous for future dams using weighted overlay analysis aggregate input layers under the GIS environment.

The general steps involve:

- Preparation of physical thematic layers required for multi criteria overlay analysis of study area.

- Determining the significant layers

- Reclassifying or transforming the data within a layer

- Weighting the input layers

- Adding or combining the layers

- Analyzing the result and delineation of the groundwater potential zones.

Preliminary Conceptualization of the Hydrogeology

Development of preliminary conceptual models (hydrogeological cross-sections) of the area for a better understanding of the regional groundwater system based on existing information and overlay analysis outputs will be carried out.

Field Visit

After having the analysis of previous data in combination with the overlay analysis, preliminary site visit should be carried out to ascertain what was interpreted at the office level. Accordingly, site visit will be organized for at least a week to familiarize with the study area, enhance and update the conceptual hydrogeological map. The main purpose of the field visit is to enhance the conceptual understanding of the groundwater system, to verify the geological setting of the prospective groundwater sites and its surrounding area, and to plan more appropriately the subsequent phases (such as site selection for carrying out geophysical survey). Besides, water demand assessment will be carried out in consultation with stakeholders (Regional as well as Zonal/Woreda and local officials/communities).

Inception Report and Workshop

Subsequently, all gathered hydrological, climatological, hydrogeological, geological information and data shall be reviewed and preliminary analysis shall be done integrated with the outcome of the field visit. The main outputs of the Inception will be but not limited to:

- Preliminarily reviewed and analysed previous studies and data

- Identified specific target areas for detail groundwater potential investigation using overlay analysis,

- Prepared different possible conceptual groundwater flow system models of the area,

- Enhanced existing groundwater database and uploaded data,

- Preliminary hydrogeological and groundwater potential maps at a scale of 1:250,000,

- Different formats prepared for collection of existing data and information, which includes format for existing water points inventory (water wells, springs, rivers, reservoirs, etc.)

- Identified data gaps and revised methodology and volume of work for the next phases.

- Present findings of the Draft Inception Phase at a validation Workshop-1. All cost of the venue and Participants of workshop will be covered by the client and place of workshop will be as appropriate. Numbers of participants may be till 60 but all fee of the participants from the consultant side (transportation and per diem will be covered by the Consultants)

- Prepare and submit Final Inception Report based on the outcome of Workshop-1.

- Phase-II: Field Survey of Target Areas

At this stage, site specific investigations to be carried out includes geological and geomorphological, hydrological, geophysical survey and hydrogeological investigation with exploratory and or production wells drilling and testing to verify the groundwater potential of the area for further activities.

  - Geological and Geomorphological Survey

The geological mapping with a scale of 1:250,000 from phase-1 is the base map for this stage specific areas study to prepare a 1:100,000 scale maps. These maps will be the base map for the preparation of the hydrogeological map of the study area. Geological and geomorphological survey to be carried out with field geological assessment along different traverses to determine:

- Classification of all the rock types and establishment of the stratigraphic relations of litho-stratigraphic units at a scale of 1:100,000 for the selected specific prospective areas.

- Determination of the lateral and vertical extent of litho-stratigraphic units.

- Identification and mapping of all geological structures.

- Determination of the major structures (faults, lineaments, folds, dykes and etc.) having important hydrogeological implications.

- Preparation of geological sections along zones of likely high groundwater flow paths.

- Close observation on the texture, cementation, porosity and general lithostratigraphy of the geological formations at the local sites (geological characterization).

- Other activities which may be required for comprehensive geological investigations.

  - Hydrological Study

The main objective of hydrological study is to characterize available rivers/streams within or adjacent to the detailed study areas and assessments on recharge possibilities, accounting of all factors influencing the catchment area, the existence of springs at regional and local scales, and their hydrogeological implications, surface, and groundwater relationships. Hydro-meteorological Studies shall be carried out using:

- Collection, checking of data consistency and analysis of the last 10-years hydro-meteorological data used to know the rainfall-runoff characteristics, to study the climate variability of the area.

- Analyses of hydrological data to determine surface water-groundwater interaction.

- Estimation of groundwater recharge using base flow separation, water balance, Wets pass approaches based on available data (Land Use-Land cover, soil, slope, drainage, groundwater level, permeability...etc.)

  - Geophysical Investigation

The main objective of the geophysical investigation is to determine:

- Thickness of different geological formation

- Depth to the groundwater

- Qualitative and/or quantitative evaluation of degree of salinity of the groundwater

- To identify geological structures

- To identify depth to aquifer and determine aquifer thickness

- Spatial variation related to hydraulic properties of the different lithologic units.

- Preparation of Geophysical report with pseudo and geoelectric sections

- To recommend exploratory and/or production well sites for drilling and testing based on the geophysical analysis and interpretation.

It is proposed to carry out geophysical investigation of Vertical Electrical Sounding (VES) and magnetic survey over all of the specific areas along different profiles to obtain subsurface information. VES are recommended in order to identify the resistivity contrast between the different zones of aquifers. Besides this, magnetic survey shall be carried out to identify geological structures and the possible contact with the underling formations.

Although the quantity of VES and Magnetic survey may be increased or decreased based upon the Phase-I output, here in the Phase-II, it is recommended to carry out a total of about 120 VESs AB/2 >= 1000 meters at 2 kilometres interval along the traverse lines and magnetic survey at three of these traverse lines for a total length of 60 km.

  - Environmental and Social Impact Assessment

The purposes of conducting environmental and social impact assessment are:

- To assess the baseline condition of the project area,

- To understand the social and environmental situation of the project and asses the planned project implementation and its impact.

- To propose mitigation measures for the expected impacts.

- To carryout Stakeholders interview/discussion related to water demand for domestic, irrigation as well as industries in the target area(s)

  - Water Quality Survey

The water quality survey collected shall be conducted for hydro-geochemical characterization of the area and analyse the water samples for the suitability of the water source for domestic and irrigation use.

Water samples shall be collected systematically from surface water bodies (rivers, ponds, reservoirs), springs, dug wells and existing wells in the study area. The water sampling points shall be chosen on the basis of the study results from the regional hydrogeological, geological, structural and tectonic setup of the area. The main parameters to be determined are:

In-situ field measurement of electrical conductivity (EC), pH and water sampling from different water sources (boreholes, hand dug wells, springs, rivers and streams).

Physico-chemical analysis of water samples shall be analysed according to “Standard Methods for the examination of water and Wastewater” published by WPCF/AWWA/APHA 16th edition in laboratory.

A total of about 100 samples shall be collected from all available sources in order to:

- Characterize the chemical composition of the aquifers within and surroundings to determine the recharge and discharge areas

- Identify groundwater pollution sources using available spatial information and additional analysis, where required

- Determine the spatial distribution of groundwater quality maps (EC, TDS, SAR…)

- Characterize the groundwater of the study area, its suitability for domestic water supply based on Ethiopian Drinking Water and WHO standards and for irrigation based on Sodium Adsorption Ratio (SAR) and the United States Salinity Laboratory (USSL).

  - Hydrogeological Study and Workshop

For further familiarization and visualization of the groundwater condition of the area, it is proposed to conduct detail hydrogeological surveys in the specific target areas. The hydrogeological surveys mainly include but not limited to the following:

- Inventory of springs, wells and all boreholes and records of their geographic locations (taken by GPS) with labelled codes.

- Identify major aquifers, define their possible extent based on the available data and field inspection combined with the geological data

- Hydrological/hydrogeological observations and measurements of water level (groundwater level observations) from boreholes with their discharge measurements where applicable.

- A field observation on the geomorphology, land use, vegetation, and geological structures

- Field observation and mapping of groundwater manifestation horizons like seepage zones, spring, etc, and groundwater flow directions.

- Assessment/evaluations of recharge conditions for the area for its sustainable utilization

- Regional view and understanding of the groundwater system of the specific target area/s

- Estimation of the hydraulic properties of the aquifers

- Other basic data/parameters that may be revealed during the study

- Make analysis of groundwater level data and geological setup to determine the groundwater flow direction and zones of aquifer-surface water interactions.

- Map and verify Hydrogeological boundaries and units (hydrogeological mapping at 1:100,000).

- Proposal (selection) of exploratory and/or pilot production well sites to be drilled and tested for phase-III activities based on the updated overall information including geophysical analysis and interpretation result

- Bidding document preparation for test and/or pilot production wells drilling and testing.

- Present and discuss findings and prospective drilling sites to stakeholders of the Phase-II at a validation workshop-2

- Prepare and submit the final Phase-II report based on the outcome of the workshop

- Phase-III: Drilling and Groundwater Resources Evaluation

Groundwater resource evaluation of specific target area shall be carried out by using supervision of test and/or pilot production wells drilling and testing. In this stage, eight (8) test and/or pilot production wells will be drilled and tested and used for groundwater resource evaluation. Such wells are also very important to generate site specific hydrogeological data (aquifer characterization) and they are also usable for water supply for the community domestic/ irrigation use (double importance). The Consultant should undertake the following tasks during the drilling and testing supervision activity;

- Contract administration (project duration, activity dependency, critical logistics)

- Supervise the drilling and testing activity of eight (8) test/pilot production wells from the very beginning up to the end as per the specification (Drilling, casing installation, well development, pumping test, etc.).

- Measure and collect important data during drilling of the test wells (EC, TDS, temperature of the gashing out water and/or drilling fluid), the rate of drilling, or any situations (caving, water loss, etc.) encountering while the drilling is in progress

- Supervise the borehole-geophysical logging work and analyse the result in correlation with lithological log, and prepare casing arrangement accordingly

- Check and certify payment certificates, manage the cost of the project

- Prepare borehole completion report, including Vertical section drawings of completed borehole together with geologic log, pumping test data and their analysis, water quality and their analysis, etc. and then submit to the Client.

Groundwater Resource Evaluation

The groundwater resource evaluation in this stage is mainly based on the outcome from the drilling and testing of the seven (7) test/pilot production wells with the following specific points to be achieved by carrying out detail Hydrogeological Investigation:

- Interpretation and calibration of the geophysical survey results using drilling results of the test and/or pilot production wells

- Detail investigation of the hydrogeological system

- Aquifer characterization and determination of aquifer parameters

- Delineation of the main aquifer

- Evaluation of the quantity and quality of groundwater

- Determination of rational technical and economical distribution of production wells for future drilling

- Analytical and/or numerical groundwater model

- Map and verify hydrogeological boundaries and units (hydrogeological mapping at 1:50,000 based on the extent of potential areas)

- Characterize the intra and inter annual groundwater recharge dynamics under the current and predicted effects of climate change

- Estimation of the total exploitable groundwater resources

- Assess the temporal changes in groundwater levels under current and future climate change scenarios (under the current and predicted effects of climate change).

- Present and discuss findings to stakeholders of the Phase-III at a validation Workshop-3

- Prepare and submit the final Phase-III report based on the outcome of the Workshop

- Phase-IV: Groundwater Database Preparation

The existing groundwater database available at the Ministry of Water and Energy (ENGDA, ENGWIS and the recently completed web-based groundwater information system developed by Acacia Waters and Aquacon Engineering, which is currently hosted by Ministry of Innovation and Technology) and others if any shall be reviewed, updated and enhanced. All data generated during this study shall be uploaded into the new database system.

- Phase V: Capacity Building and Information Dissemination

Ten (10)-days training will be organized and provided by the Consultant for at least 20 participants from Ministry of Water Groundwater experts and Hydrogeologists from Regional Water Bureaus.  All costs for the venue and participants will be covered by the consultants in at least three-star Hotel. The place shall be selected as appropriate by consent of client. The training participants will be from relevant stakeholders to explain the steps of groundwater resource assessment and evaluation to ensure that the hydrogeological investigation work can continue in this way in the country. This training will require the steps of groundwater mapping, the interpretation of the remote sensing overlays, the weighting process for the different layers and the final interpretation of the maps for targeting well prospects, integrating borehole and surface geophysical information. It will also cover basics of groundwater modelling, three-dimensional model setup, and analysis of the simulation results (groundwater recharge and groundwater level, current and future scenarios). The Consultant will provide all material and software for the training.

The main component of this phase is to train staffs of the Ministry of Water and Energy involved in groundwater resource assessment and management and Water Management Zones on concepts, techniques for assessment and management of groundwater resources.

Proposed Equipment and Software for the study

The Consultant shall avail the following equipment and other relevant kits for the survey:

- IRS Syscal junior system resistivity meter

- GSM-19 Magneto meter

- Tomographic geophysical survey (Imaging)

- Measuring tape

- Magnifying lens

- CCTV

- Caliper

- Compass

- Clinometers

- GPS

- Geologic Hammers

- Deep meter 200 and 300 m

- EC-meter

- Land sat / Spot imageries of the study area

- First aid kit

- Laptop

Computer Software

- Groundwater Modelling Software (3D Visual Mod flow 15.1 and/or Modflow pro, GMS)

- Software for Interpretation of Geophysical survey results

- AutoCAD

- GIS and Image processing software (ArcGIS and ERDAS)

- HydroGeoAnalyst 2016 for data management

Ministry of Water and Energy shall disseminate all generated data, maps and information to be ready for website uploading/printable version based on data and information sharing policy and regulation.

# Reporting and Schedule of Deliverables

The consultancy service is expected to last for a maximum of 14-months. Of this, 6-months are allocated for drilling and testing supervision of eight (8) test and/or pilot production wells to evaluate the groundwater resource. The drilling and testing result will be used to realize the achievement of overall hydrogeological investigation and it has to be completed within the allocated time. It is, however, the responsibility of the Consultant to establish a detailed work program within the above time frame, taking into consideration the estimated man-month requirements. This should be guided by their professional judgment of the assignment’s requirements and knowledge of the local conditions and needs.

| Item No. | Deliverable (Report) | Deliverable Contents to be included but not limited to | Number of Copies | Time frame (M-Month) | Payment Schedule |
| --- | --- | --- | --- | --- | --- |
| 1 | Draft Inception report (Phase-I) | The report includes: Intensive review of available documents and collected data, different thematic layers for multi-criteria overlay analysis delineated groundwater potential zones preliminary conceptualized hydrogeological models (X-sections and hydrogeological maps 1:250,000) Identified data gaps for further phase works and proposed methodology and final work plan for the next phases | 5 | M+1.5 | - |
| 2 | Final Inception report (Phase-I) | Final inception report submission after incorporating comments/feedbacks of Workshop-1 | 5 | M+2 | 30% |
| 3 | Draft field survey report for selected prospective area (s) (Phase-II) | Comprises; inventory water points data, identified aquifers, source, rate and mechanism of recharge, discharge condition, geological and hydrogeological maps (1:100,000) with x-sections, geophysical, geo-electrical & pseudo-sections, regional as well as local groundwater flow systems, estimated hydraulic properties of identified aquifers, surface-groundwater interaction conditions, maps showing selected sites for test and/or pilot production wells drilling and testing, bid and drilling specification documents | 5 | M+4.5 | - |
| 4 | Final field survey report (Phase-II) | Final field surveys report submission after incorporating comments/feedbacks from the Workshop-2 | 5 | M+5 | 40% |
| 5 | Draft groundwater resource evaluation report (Phase-III), Developed Groundwater database (Phase-IV) and Training manual (Phase-V) | Draft detail hydrogeological investigation and analytical/numerical groundwater flow modelling for specific target sites/well fields comprises mainly; major aquifers, hydrogeological maps (1:50,000) & X-sections, estimated total exploitable groundwater resource, groundwater recharge and water level dynamics under current and predicted climate changes, drilling of selected production well sites for intended purpose, Enhanced groundwater database, and Training manuals and 20-trained and capacitated participants | 5, 20-training manuals | M+13 | - |
| 6 | Final groundwater resource evaluation report (Phase-III) | Final groundwater resource evaluation report after incorporation of comments and suggestions from Workshop-3 | 5 | M+14 | 30% |
| 7 | 3-workshops | At the end of Phase-I, II and -III | - | M+1.5, M+4.5 and M+13 |  |

All reports shall be submitted in both soft (MS Word, PDF) and hard copies. The hard copies will be prepared in A4 format, except for plans and drawings which should be prepared in A3 format. In addition, maps have to be prepared with A0 size paper. The reports should be clearly labelled, i.e., title of the study indicated, for easy identification and documentation purposes. All reports shall be prepared in the English language. Please note that the Consultant will be expected within one (1) week of submission of draft reports (Phase-I, II, III) to make presentations to the respected stakeholders. At each workshop, the Consultant shall make PowerPoint presentations, provide concise background documents for discussion and prepare workshop reports to document the proceedings. All cost of the venue and client-side Participants of workshop will be covered by the client and place of work shop shall be as appropriate. Numbers of participants may be till 60 but all fee of the participants from the Consultant side (transportation and per diem will be covered by the Consultants).

# Organization of the Assignment

Ministry of Water and Energy coordinate and manage the overall activities and all deliverables shall be submitted to them. Project coordinators shall be appointed by the Ministry to supervise the implementation of the entire works and coordinate the day-to-day activities.

The Consultant is required to elaborate in his technical offer on the envisaged logistical set-up and deployment of appropriate skills for the execution of the assignment. The consultant should carefully review the scope of works and propose a team of well-organized competent staff, adequately equipped with the necessary skills/facilities to execute the assignment, bearing in mind that a substantial amount of work in this assignment is field based.

# Qualification and Experience of Key Personnel

The Consultant shall identify and deploy a team necessary to carry out the assignment and should describe clearly the functions of each team member. The Consultant is however expected to provide a team, composed of the following key staff. The Consultant has the right to propose additional staff/competencies/short-term specialists as deemed appropriate for the successful execution of the assignment.

Table 1: Professional Requirement

| No | Job Title | # | Qualification and Education | Specific Experiences | General Experience | Time-Month |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Project Manager/ Team Leader | 1 | MSc in Hydrogeology/ Water Resources Engineering | At least 10 years of specific experiences in hydrogeology and groundwater development management of which 3 years in management of drilling operation and contract administration works | At least 13 years of general experience in Infrastructure Construction, Study and Design of Water Supply inWaSH/WRM/Irrigation or construction sectors | 14 |
| 2 | Senior Hydrogeologist | 1 | MSc in Hydrogeology | At least 10 years of specific experiences in hydrogeological investigation and groundwater development and drilling work supervision | At least 12 years of general experience in Mining, Study and Design of Water Supply in WaSH/WRM/ Irrigation or Mining and drilling sectors | 14 |
| 3 | Senior Geophysicist | 2 | MSc in Geophysics or related fields | At least 8 years experiences in geophysical application to water source mapping (groundwater investigation and borehole logging), analysis and interpretation | At least 10 years general experiences in geophysics and groundwater exploration in WaSH/WRM/Irrigation or construction sub sectors | 5 |
| 4 | Senior Geologist | 2 | MSc in Geology | At least 10 years of specific experience in geological investigation related to groundwater applications | At least 13 years of general experiences in geological and geomorphological mapping works in WaSH/WRM/Irrigation or construction sectors | 5 |
| 5 | Senior Hydrologist | 1 | M.Sc. in Hydrology/ Water Resource Engineering/ Hydraulics Engineering or related fields | At least 10 years of specific experience in hydrological study and water supply works | At least 13 years of general experience in hydrological works in WaSH/WRM/Irrigation/ Mining /drilling sub sectors | 5 |
| 6 | Senior RS & GIS Expert | 1 | MSc in RS & GIS or related fields | At least 10 years of GIS, Remote Sensing or relevant mapping experience in water supply works | At least 12 years of general experience in GIS and Remote Sensing WaSH/WRM/ Irrigation or construction sectors | 5 |
| 7 | Supervising Hydrogeologists | 5 | BSC/MSc in Geology/ Hydrogeology | At least 10/8 years specific experiences in supervision of drilling and construction of deep-water wells and contract administration works | At least 12/10 years general experiences in geological and water works study design in WaSH/WRM/Irrigation or construction sectors | 12 |
| 8 | Senior Socio-Economist | 1 | MSc in Sociology or related fields | At least 8-years of specific experiences in socio-economic study works in the water sector | At least 10-years of general experiences in socio-economic study and design of Water supply projects of WaSH/WRM/Irrigation or construction sectors | 5 |
| 9 | Senior Environmentalist | 1 | MSc in Environmental Engineering or related fields | At least 8-years of specific experiences in Environmental study works in the water sector | At least 10-years of general experience in Environmental study and design of Water supply projects of WaSH/WRM/Irrigation or construction sectors | 5 |

- LOT 3. Groundwater Potential Assessment of Woito area (Part of Upper Omo Basin), SNNP Region

FEDERAL DEMOCRATIC REPUBLIC OF ETHIOPIA

MINISTRY OF WATER AND ENERGY

Terms of Reference for

Groundwater Potential Assessment of Woito area (Part of Upper Omo Basin), SNNP Region

June 2023

Addis Ababa

Table of Contents

1.	Background	2

2.	General Objective	3

3.	The Project Area	4

4.	Methodology	5

5.	Reporting and Schedule of Deliverables	12

6.	Organization of the Assignment	14

7.	Qualification and Experience of Key Personnel	15

# Background

Groundwater is able to create drought resilience, improve the welfare of the population, to utilize the land resources and for sustainable agricultural production. In this regard, the use of groundwater for water supply and/or irrigation practices is expected to result in far reaching implication in ensuring food security for urban and the rural community. The Project is part of a regional HoA initiative that aims to strengthen the resilience of targeted communities through the management and collaborative use of the groundwater resources and is funded by the World Bank.

Water insecurity is a growing concern globally, especially in developing countries, where a combination of population growth, urbanization, changing consumption patterns along with improved living standards, and climate change variability put increasing pressure on water supply systems. Development of groundwater scheme has received considerable attention in recent years. However, in many such instances, the expansion of groundwater development has not been preceded or accompanied by systematic studies to evaluate the resource potentials of the respective aquifers.

Exploration of groundwater potential has been undertaking with a very good results in different parts of Ethiopia. So far, many groundwater resource assessment and evaluation projects covering broad areas were completed mainly by the Ministry of Water and Energy, UNICEF and ATA. These include Raya-Kobo-Girana (Northern), Teru-Chifra (North Eastern), Allaidege (Main Ethiopian Rift), Meskan-Mareko-Silte, Lower Bilate (Rift Valley), Adaa-Becho-Addis Ababa (Central), Fafem-Jerer (Eastern) and Ambo-Welkite (Western) areas groundwater resource assessment and evaluation projects are the major ones completed in the past. Of these, the water supply source of Addis Ababa City and its surrounding towns is mainly from groundwater (about 60 to 70%).

Therefore, in order to derive the optimum benefit from a groundwater scheme, a proper resource study has to be carried out. However, unlike surface water processes, most of the groundwater activity is invisible in the strata that lie below the ground surface. Measurement and monitoring of groundwater flow are therefore extremely difficult. Therefore, in order to minimize most of the simplifying assumptions in groundwater assessment programs, several integrated exploration approaches should be applied. As part of the integrated approach to groundwater exploration, combination of geological, hydrological, hydrogeological and geophysical exploration tools needs to be implemented.  Groundwater recharge is an essential component of such investigation and therefore must be estimated before attempting to develop the groundwater model of an area. Hence, the core and ultimate goal regarding this project shall be to estimate the quantity and investigate the quality of the groundwater available in an area for water supply and/or irrigation development.

The proposed studies shall be carried out in five phases. The first phase (Phase-I) of the investigation is the inception phase composed of review of previous works, overlay analysis to determine groundwater prospective areas, develop conceptual hydrogeological model, preliminary field visit and submission of Inception report. The second phase (Phase-II) comprises field hydro-geophysical surveys in specified target areas to select sites for test and/or pilot production wells, drilling and testing. During the third phase (Phase-III), detail hydrogeological investigation shall be conducted at a specific target area with the aid of test and/or pilot production wells that shall be drilled and tested to assess the groundwater resource; evaluation and management activities that includes determination of aquifer parameters and estimation of total exploitable groundwater resource together with analytical and/or numerical groundwater modelling used for groundwater management shall be carried out. The final activities are preparation of Groundwater Database in Phase-IV, and information dissemination and capacity building in Phase-V.

# General Objective

The general objective of the investigation is to determine the potential (prospective) groundwater sites for groundwater development for intervention of the current and future water demand under consideration of the climate change impacts.

The specific objectives of the study are summarized as follows:

- Undertake water demand assessment for multipurpose utilization.

- Determine the hydrogeological condition of the area: identify sites, evaluate recharge and discharge conditions, delineate spatial distribution of different aquifers, determine hydraulic parameters, analyse water quality of the aquifers and assess impacts of future exploitation of the potential aquifers.

- Qualitative and quantitative evaluation of the groundwater resources on selected potential sites or prospective areas

- Bidding document preparation for drilling and testing of test/pilot production wells

- Supervision of test and/or pilot production wells drilling and testing

- Carry out analytical and/or numerical model of the main aquifer of the area to recommend appropriate groundwater exploitation and management

- Evaluate the groundwater resources and develop strategy of groundwater resources development with their cost estimates.

- Create detailed groundwater resource potential maps

- Identify promising areas for groundwater development

- Conduct enhancement of the national groundwater database and carry out massive processing and uploading of existing data collected from all over the country Build the capacity of MoWE and Regional Water Bureaus by providing on-the-job training and short courses in groundwater exploration, development and management.

# The Project Area

The proposed study area is situated in SNNP Regional State, in Woito catchment, which covers about 20-Woredas. Geographically, its location is dropped under the projection of UTM Zone 370 (36-42-North Hemisphere) 241348E to 367026E longitude and 563858N and 721947N latitude, covers an area of about 15,000km2. The study area is situated entirely within Woito Basin.

Figure 1: Project area location

# Methodology

The proposed methodology for the groundwater resources investigation is an integrated approach set up for data collection, review, field survey, identification, selection and evaluation of prospective sites/well fields. The proposed study should focus on evaluation of the groundwater potential through detailed, comprehensive and integrated methods and will be completed in five phases:

Phase-I: Inception

Phase II- Field Survey of Target Areas

Phase-III: Drilling and Groundwater Resources Evaluation

Phase IV: Groundwater Database Preparation

Phase V: Capacity Building and Information Dissemination

    - Phase-I: Inception

Phase-I (Inception) includes preliminary collection and review of existing data from previous works of the area or at near vicinities such as geological (maps 1:250,000 and 1: 50,000 scales), Hydrogeological data (complete borehole data including pump test data), Hydro-metrological data such as (rainfall, Daily maximum and minimum temperature, Relative humidity, wind speed, Sunshine duration and etc.) and Geophysical data such as (VES, TDEM/TEM, MAGNETIC preceded by overlay analysis, preliminary conceptualize hydrogeological setup of the study area, preliminary site visit, preparation of draft Inception report, validation workshop and submission of final inception report shall be conducted.

Preliminary Data Collection and Review

Available geomorphological, geological, hydrogeological, and other maps together with study reports and data will be collected and studied; any available relevant satellite imagery interpretation will be carried out to conceptualize the hydrogeological setup of the area (scale 1:250,000) and finally preliminary conceptual groundwater map of the study area after overlay analysis will be prepared to facilitate the field visit.

Overlay Analysis

Due to large coverage of the area, an overlay analysis is very important to identify specific target locations for aquifer recharging sites (dam & ponds with accessory canals) and monitoring points. An overlay analysis is used also to determine recharge zones where recharge is very effective, environmentally vulnerable areas for land degradation where siltation is hazardous for future dams using weighted overlay analysis aggregate input layers under the GIS environment.

The general steps involve:

- Preparation of physical thematic layers required for multi criteria overlay analysis of study area.

- Determining the significant layers

- Reclassifying or transforming the data within a layer

- Weighting the input layers

- Adding or combining the layers

- Analyzing the result and delineation of the groundwater potential zones.

Preliminary Conceptualization of the Hydrogeology

Development of preliminary conceptual models (hydrogeological cross-sections) of the area for a better understanding of the regional groundwater system based on existing information and overlay analysis outputs will be carried out.

Field Visit

After having the analysis of previous data in combination with the overlay analysis, preliminary site visit should be carried out to ascertain what was interpreted at the office level. Accordingly, site visit will be organized for at least a week to familiarize with the study area, enhance and update the conceptual hydrogeological map. The main purpose of the field visit is to enhance the conceptual understanding of the groundwater system, to verify the geological setting of the prospective groundwater sites and its surrounding area, and to plan more appropriately the subsequent phases (such as site selection for carrying out geophysical survey). Besides, water demand assessment will be carried out in consultation with stakeholders (Regional as well as Zonal/Woreda and local officials/communities).

Inception Report and Workshop

Subsequently, all gathered hydrological, climatological, hydrogeological, geological information and data shall be reviewed and preliminary analysis shall be done integrated with the outcome of the field visit. The main outputs of the Inception will be but not limited to:

- Preliminarily reviewed and analysed previous studies and data

- Identified specific target areas for detail groundwater potential investigation using overlay analysis,

- Prepared different possible conceptual groundwater flow system models of the area,

- Enhanced existing groundwater database and uploaded data,

- Preliminary hydrogeological and groundwater potential maps at a scale of 1:250,000,

- Different formats prepared for collection of existing data and information, which includes format for existing water points inventory (water wells, springs, rivers, reservoirs, etc.)

- Identified data gaps and revised methodology and volume of work for the next phases.

- Present findings of the draft inception phase at a validation Workshop-1. All cost of the venue and Participants of workshop will be covered by the client and place of work shop will be as appropriate. Numbers of participants may be till 60 but all fee of the participants from the consultant side (transportation and per diem will be covered by the Consultants)

- Prepare and submit Final Inception Report based on the outcome of Workshop-1.

    - Phase-II: Field Survey of Target Areas

At this stage, site specific investigations to be carried out includes geological and geomorphological, hydrological, geophysical survey and hydrogeological investigation with exploratory and or production wells drilling and testing to verify the groundwater potential of the area for further activities.

  - Geological and Geomorphological Survey

The geological mapping with a scale of 1:250,000 from phase-1 is the base map for this stage specific areas study to prepare a 1:100,000 scale maps. These maps will be the base map for the preparation of the hydrogeological map of the study area. Geological and geomorphological survey to be carried out with field geological assessment along different traverses to determine:

- Classification of all the rock types and establishment of the stratigraphic relations of litho-stratigraphic units at a scale of 1:100,000 for the selected specific prospective areas.

- Determination of the lateral and vertical extent of litho-stratigraphic units.

- Identification and mapping of all geological structures.

- Determination of the major structures (faults, lineaments, folds, dykes and etc.) having important hydrogeological implications.

- Preparation of geological sections along zones of likely high groundwater flow paths.

- Close observation on the texture, cementation, porosity and general lithostratigraphy of the geological formations at the local sites (geological characterization).

- Other activities which may be required for comprehensive geological investigations.

  - Hydrological Study

The main objective of hydrological study is to characterize available rivers/streams within or adjacent to the detailed study areas and assessments on recharge possibilities, accounting of all factors influencing the catchment area, the existence of springs at regional and local scales, and their hydrogeological implications, surface, and groundwater relationships. Hydro-meteorological Studies shall be carried out using:

- Collection, checking of data consistency and analysis of the last 10-years hydro-meteorological data used to know the rainfall-runoff characteristics, to study the climate variability of the area.

- Analyses of hydrological data to determine surface water-groundwater interaction.

- Estimation of groundwater recharge using base flow separation, water balance, Wets pass approaches based on available data (Land Use-Land cover, soil, slope, drainage, groundwater level, permeability...etc.)

  - Geophysical Investigation

The main objective of the geophysical investigation is to determine:

- Thickness of different geological formation

- Depth to the groundwater

- Qualitative and/or quantitative evaluation of degree of salinity of the groundwater

- To identify geological structures

- To identify depth to aquifer and determine aquifer thickness

- Spatial variation related to hydraulic properties of the different lithologic units.

- Preparation of Geophysical report with pseudo and geoelectric sections

- To recommend exploratory and/or production well sites for drilling and testing based on the geophysical analysis and interpretation.

It is proposed to carry out geophysical investigation of Vertical Electrical Sounding (VES) and magnetic survey over all of the specific areas along different profiles to obtain subsurface information. VES are recommended in order to identify the resistivity contrast between the different zones of aquifers. Besides this, magnetic survey shall be carried out to identify geological structures and the possible contact with the underling formations.

Although the quantity of VES and Magnetic survey may be increased or decreased based upon the Phase-I output, here in the Phase-II, it is recommended to carry out a total of about 120 VESs AB/2 >= 1000 meters at 2 kilometres interval along the traverse lines and magnetic survey at three of these traverse lines for a total length of 60 km.

  - Environmental and Social Impact Assessment

The purposes of conducting environmental and social impact assessment are:

- To assess the baseline condition of the project area,

- To understand the social and environmental situation of the project and asses the planned project implementation and its impact.

- To propose mitigation measures for the expected impacts.

- To carryout Stakeholders interview/discussion related to water demand for domestic, irrigation as well as industries in the target area(s)

  - Water Quality Survey

The water quality survey collected shall be conducted for hydro-geochemical characterization of the area and analyse the water samples for the suitability of the water source for domestic and irrigation use.

Water samples shall be collected systematically from surface water bodies (rivers, ponds, reservoirs), springs, dug wells and existing wells in the study area. The water sampling points shall be chosen on the basis of the study results from the regional hydrogeological, geological, structural and tectonic setup of the area. The main parameters to be determined are:

In-situ field measurement of electrical conductivity (EC), pH and water sampling from different water sources (boreholes, hand dug wells, springs, rivers and streams).

Physico-chemical analysis of water samples shall be analysed according to “Standard Methods for the examination of water and Wastewater” published by WPCF/AWWA/APHA 16th edition in laboratory.

A total of about 100 samples shall be collected from all available sources in order to:

- Characterize the chemical composition of the aquifers within and surroundings to determine the recharge and discharge areas

- Identify groundwater pollution sources using available spatial information and additional analysis, where required

- Determine the spatial distribution of groundwater quality maps (EC, TDS, SAR…)

- Characterize the groundwater of the study area, its suitability for domestic water supply based on Ethiopian Drinking Water and WHO standards and for irrigation based on Sodium Adsorption Ratio (SAR) and the United States Salinity Laboratory (USSL).

  - Hydrogeological Study and Workshop

For further familiarization and visualization of the groundwater condition of the area, it is proposed to conduct detail hydrogeological surveys in the specific target areas. The hydrogeological surveys mainly include but not limited to the following:

- Inventory of springs, wells and all boreholes and records of their geographic locations (taken by GPS) with labelled codes.

- Identify major aquifers, define their possible extent based on the available data and field inspection combined with the geological data

- Hydrological/hydrogeological observations and measurements of water level (groundwater level observations) from boreholes with their discharge measurements where applicable.

- A field observation on the geomorphology, land use, vegetation, and geological structures

- Field observation and mapping of groundwater manifestation horizons like seepage zones, spring, etc, and groundwater flow directions.

- Assessment/evaluations of recharge conditions for the area for its sustainable utilization

- Regional view and understanding of the groundwater system of the specific target area/s

- Estimation of the hydraulic properties of the aquifers

- Other basic data/parameters that may be revealed during the study

- Make analysis of groundwater level data and geological setup to determine the groundwater flow direction and zones of aquifer-surface water interactions.

- Map and verify Hydrogeological boundaries and units (hydrogeological mapping at 1:100,000).

- Proposal (selection) of exploratory and/or pilot production well sites to be drilled and tested for phase-III activities based on the updated overall information including geophysical analysis and interpretation result

- Bidding document preparation for test and/or pilot production wells drilling and testing.

- Present and discuss findings and prospective drilling sites to stakeholders of the Phase-II at a validation Workshop-2

- Prepare and submit the final Phase-II report based on the outcome of the workshop

    - Phase-III: Drilling and Groundwater Resources Evaluation

Groundwater resource evaluation of specific target area shall be carried out by using supervision of test and/or pilot production wells drilling and testing. In this stage, eight (8) test and/or pilot production wells will be drilled and tested and used for groundwater resource evaluation. Such wells are also very important to generate site specific hydrogeological data (aquifer characterization) and they are also usable for water supply for the community domestic/ irrigation use (double importance). The Consultant should undertake the following tasks during the drilling and testing supervision activity;

- Contract administration (project duration, activity dependency, critical logistics)

- Supervise the drilling and testing activity of eight (8) test/pilot production wells from the very beginning up to the end as per the specification (Drilling, casing installation, well development, pumping test, etc.).

- Measure and collect important data during drilling of the test wells (EC, TDS, temperature of the gashing out water and/or drilling fluid), the rate of drilling, or any situations (caving, water loss, etc.) encountering while the drilling is in progress

- Supervise the borehole-geophysical logging work and analyse the result in correlation with lithological log, and prepare casing arrangement accordingly

- Check and certify payment certificates, manage the cost of the project

- Prepare borehole completion report, including Vertical section drawings of completed borehole together with geologic log, pumping test data and their analysis, water quality and their analysis, etc. and then submit to the Client.

Groundwater Resource Evaluation

The groundwater resource evaluation in this stage is mainly based on the outcome from the drilling and testing of the eight (8) test/pilot production wells with the following specific points to be achieved by carrying out detail Hydrogeological Investigation:

- Interpretation and calibration of the geophysical survey results using drilling results of the test and/or pilot production wells

- Detail investigation of the hydrogeological system

- Aquifer characterization and determination of aquifer parameters

- Delineation of the main aquifer

- Evaluation of the quantity and quality of groundwater

- Determination of rational technical and economical distribution of production wells for future drilling

- Analytical and/or numerical groundwater model

- Map and verify hydrogeological boundaries and units (hydrogeological mapping at 1:50,000 based on the extent of potential areas)

- Characterize the intra and inter annual groundwater recharge dynamics under the current and predicted effects of climate change

- Estimation of the total exploitable groundwater resources

- Assess the temporal changes in groundwater levels under current and future climate change scenarios (under the current and predicted effects of climate change).

- Present and discuss findings to stakeholders of the Phase-III at a validation Workshop-3

- Prepare and submit the final Phase-III report based on the outcome of the Workshop

    - Phase-IV: Groundwater Database Preparation

The existing groundwater database available at the Ministry of Water and Energy (ENGDA, ENGWIS and the recently completed web-based groundwater information system developed by Acacia Waters and Aquacon Engineering, which is currently hosted by Ministry of Innovation and Technology) and others if any shall be reviewed, updated and enhanced. All data generated during this study shall be uploaded into the new database system.

    - Phase V: Capacity Building and Information Dissemination

Ten (10)-days training will be organized and provided by the Consultant for at least 20 participants from Ministry of Water Groundwater experts and Hydrogeologists from Regional Water Bureaus.  All costs for the venue and participants will be covered by the consultants in at least three-star Hotel. The place shall be selected as appropriate by consent of client.  The training participants will be from relevant stakeholders to explain the steps of groundwater resource assessment and evaluation to ensure that the hydrogeological investigation work can continue in this way in the country. This training will require the steps of groundwater mapping, the interpretation of the remote sensing overlays, the weighting process for the different layers and the final interpretation of the maps for targeting well prospects, integrating borehole and surface geophysical information. It will also cover basics of groundwater modelling, three-dimensional model setup, and analysis of the simulation results (groundwater recharge and groundwater level, current and future scenarios). The Consultant will provide all material and software for the training.

The main component of this phase is to train staffs of the Ministry of Water and Energy involved in groundwater resource assessment and management and Water Management Zones on concepts, techniques for assessment and management of groundwater resources.

Proposed Equipment and Software for the study

The Consultant shall avail the following equipment and other relevant kits for the survey:

- IRS Syscal junior system resistivity meter

- GSM-19 Magneto meter

- Tomographic geophysical survey (Imaging)

- Measuring tape

- Magnifying lens

- CCTV

- Caliper

- Compass

- Clinometers

- GPS

- Geologic Hammers

- Deep meter 200 and 300 m

- EC-meter

- Land sat / Spot imageries of the study area

- First aid kit

- Laptop

Computer Software

- Groundwater Modelling Software (3D Visual Mod flow 15.1 and/or Modflow pro, GMS)

- Software for Interpretation of Geophysical survey results

- AutoCAD

- GIS and Image processing software (ArcGIS and ERDAS)

- HydroGeoAnalyst 2016 for data management

Ministry of Water and Energy shall disseminate all generated data, maps and information to be ready for website uploading/printable version based on data and information sharing policy and regulation.

# Reporting and Schedule of Deliverables

The consultancy service is expected to last for a maximum of 14-months. Of this, 6-months are allocated for drilling and testing supervision of eight (8) test and/or pilot production wells to evaluate the groundwater resource. The drilling and testing result will be used to realize the achievement of overall hydrogeological investigation and it has to be completed within the allocated time. It is, however, the responsibility of the Consultant to establish a detailed work program within the above time frame, taking into consideration the estimated man-month requirements. This should be guided by their professional judgment of the assignment’s requirements and knowledge of the local conditions and needs.

| Item No. | Deliverable (Report) | Deliverable Contents to be included but not limited to | Number of Copies | Time frame (M-Month) | Payment Schedule |
| --- | --- | --- | --- | --- | --- |
| 1 | Draft Inception report (Phase-I) | The report includes: Intensive review of available documents and collected data, different thematic layers for multi-criteria overlay analysis delineated groundwater potential zones preliminary conceptualized hydrogeological models (X-sections and hydrogeological maps 1:250,000), identified data gaps for further phase works and proposed methodology and final work plan for the next phases | 5 | M+1.5 | - |
| 2 | Final Inception report (Phase-I) | Final inception report submission after incorporating comments/feedbacks of Workshop-1 | 5 | M+2 | 30% |
| 3 | Draft field survey report for selected prospective area (s) (Phase-II) | Comprises; inventory water points data, identified aquifers, source, rate and mechanism of recharge, discharge condition, geological and hydrogeological maps (1:100,000) with x-sections, geophysical, geo-electrical & pseudo-sections, regional as well as local groundwater flow systems, estimated hydraulic properties of identified aquifers, surface-groundwater interaction conditions, maps showing selected sites for test and/or pilot production wells drilling and testing, bid and drilling specification documents | 5 | M+4.5 | - |
| 4 | Final field survey report (Phase-II) | Final field surveys report submission after incorporating comments/feedbacks from the Workshop-2 | 5 | M+5 | 40% |
| 5 | Draft groundwater resource evaluation report (Phase-III), Developed Groundwater database (Phase-IV) and Training manual (Phase-V) | Draft detail hydrogeological investigation and analytical/numerical groundwater flow modelling for specific target sites/well fields comprises mainly; major aquifers, hydrogeological maps (1:50,000) & X-sections, estimated total exploitable groundwater resource, groundwater recharge and water level dynamics under current and predicted climate changes, drilling of selected production well sites for intended purpose, Enhanced groundwater database, and Training manuals and 20-trained and capacitated participants | 5, 20-training manuals | M+13 | - |
| 6 | Final groundwater resource evaluation report (Phase-III) | Final groundwater resource evaluation report after incorporation of comments and suggestions from Workshop-3 | 5 | M+14 | 30% |
| 7 | 3-workshops | At the end of Phase-I, II and -III | - | M+1.5, M+4.5 and M+13 |  |

All reports shall be submitted in both soft (MS Word, PDF) and hard copies. The hard copies will be prepared in A4 format, except for plans and drawings which should be prepared in A3 format. In addition, maps have to be prepared with A0 size paper. The reports should be clearly labelled, i.e., title of the study indicated, for easy identification and documentation purposes. All reports shall be prepared in the English language. Please note that the Consultant will be expected within one (1) week of submission of draft reports (Phase-I, II, III) to make presentations to the respected stakeholders. At each workshop, the Consultant shall make PowerPoint presentations, provide concise background documents for discussion and prepare workshop reports to document the proceedings. All cost of the venue and client-side Participants of workshop will be covered by the client and place of work shop shall be as appropriate. Numbers of participants may be till 60 but all fee of the participants from the consultant side (transportation and per diem will be covered by the Consultants).

# Organization of the Assignment

Ministry of Water and Energy coordinate and manage the overall activities and all deliverables shall be submitted to them. Project coordinators shall be appointed by the Ministry to supervise the implementation of the entire works and coordinate the day-to-day activities.

The Consultant is required to elaborate in his technical offer on the envisaged logistical set-up and deployment of appropriate skills for the execution of the assignment. The consultant should carefully review the scope of works and propose a team of well-organized competent staff, adequately equipped with the necessary skills/facilities to execute the assignment, bearing in mind that a substantial amount of work in this assignment is field based.

# Qualification and Experience of Key Personnel

The Consultant shall identify and deploy a team necessary to carry out the assignment and should describe clearly the functions of each team member. The Consultant is however expected to provide a team, composed of the following key staff. The Consultant has the right to propose additional staff/competencies/short-term specialists as deemed appropriate for the successful execution of the assignment.

Table 1: Professional Requirement

| No | Job Title | # | Qualification and Education | Specific Experiences | General Experience | Time-Month |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Project Manager/ Team Leader | 1 | MSc in Hydrogeology/ Water Resources Engineering | At least 10 years of specific experiences in hydrogeology and groundwater development management of which 3 years in management of drilling operation and contract administration works | At least 13 years of general experience in Infrastructure Construction, Study and Design of Water Supply in WaSH/WRM/ Irrigation or construction sectors | 14 |
| 2 | Senior Hydrogeologist | 1 | MSc in Hydrogeology | At least 10 years of specific experiences in hydrogeological investigation and groundwater development and drilling work supervision | At least 12 years of general experience in Mining, Study and Design of Water Supply in WaSH/WRM/ Irrigation or Mining and drilling sectors | 14 |
| 3 | Senior Geophysicist | 2 | MSc in Geophysics or related fields | At least 8 years experiences in geophysical application to water source mapping (groundwater investigation and borehole logging), analysis and interpretation | At least 10 years general experiences in geophysics and groundwater exploration in WaSH/WRM/Irrigation or construction sub sectors | 5 |
| 4 | Senior Geologist | 2 | MSc in Geology | At least 10 years of specific experience in geological investigation related to groundwater applications | At least 13 years of general experiences in geological and geomorphological mapping works in WaSH/WRM/Irrigation or construction sectors | 5 |
| 5 | Senior Hydrologist | 1 | M.Sc. in Hydrology/ Water Resource Engineering/ Hydraulics Engineering or related fields | At least 10 years of specific experience in hydrological study and water supply works | At least 13 years of general experience in hydrological works in WaSH/WRM/Irrigation/ Mining /drilling sub sectors | 5 |
| 6 | Senior RS & GIS Expert | 1 | MSc in RS & GIS or related fields | At least 10 years of GIS, Remote Sensing or relevant mapping experience in water supply works | At least 12 years of general experience in GIS and Remote Sensing WaSH/WRM/ Irrigation or construction sectors | 5 |
| 7 | Supervising Hydrogeologists | 5 | BSC/MSc in Geology/ Hydrogeology | At least 10/8 years specific experiences in supervision of drilling and construction of deep-water wells and contract administration works | At least 12/10 years general experiences in geological and water works study design in WaSH/WRM/Irrigation or construction sectors | 12 |
| 8 | Senior Socio-Economist | 1 | MSc in Sociology or related fields | At least 8-years of specific experiences in socio-economic study works in the water sector | At least 10-years of general experiences in socio-economic study and design of Water supply projects of WaSH/WRM/Irrigation or construction sectors | 5 |
| 9 | Senior Environmentalist | 1 | MSc in Environmental Engineering or related fields | At least 8-years of specific experiences in Environmental study works in the water sector | At least 10-years of general experience in Environmental study and design of Water supply projects of WaSH/WRM/Irrigation or construction sectors | 5 |

- Lot 4. Groundwater Potential Assessment of Asasa-Bokoji-Arsi Robe-Gololcha Area, Oromia Region

FEDERAL DEMOCRATIC REPUBLIC OF ETHIOPIA

MINISTRY OF WATER AND ENERGY

Terms of Reference for

Groundwater Potential Assessment of Asasa-Bokoji-Arsi Robe-Gololcha Area, Oromia Region

June 2023

Addis Ababa

Table of Contents

1.	Background	2

2.	General Objective	3

3.	The Project Area	5

4.	Methodology	6

5.	Reporting and schedule of Deliverables	14

6.	Organization of the assignment	16

7.	Qualification and Experience of Key personnel	16

# Background

Groundwater is able to create drought resilience, improve the welfare of the population, to utilize the land resources and for sustainable agricultural production. In this regard, the use of groundwater for water supply and/or irrigation practices is expected to result in far reaching implication in ensuring food security for urban and the rural community. The Project is part of a regional HoA initiative that aims to strengthen the resilience of targeted communities through the management and collaborative use of the groundwater resources and is funded by the World Bank.

Water insecurity is a growing concern globally, especially in developing countries, where a combination of population growth, urbanization, changing consumption patterns along with improved living standards, and climate change variability put increasing pressure on water supply systems. Development of groundwater scheme has received considerable attention in recent years. However, in many such instances, the expansion of groundwater development has not been preceded or accompanied by systematic studies to evaluate the resource potentials of the respective aquifers.

Exploration of groundwater potential has been undertaking with a very good results in different parts of Ethiopia. So far, many groundwater resource assessment and evaluation projects covering broad areas were completed mainly by the Ministry of Water and Energy, UNICEF and ATA. These include Raya-Kobo-Girana (Northern), Teru-Chifra (North Eastern), Allaidege (Main Ethiopian Rift), Meskan-Mareko-Silte, Lower Bilate (Rift Valley), Adaa-Becho-Addis Ababa (Central), Fafem-Jerer (Eastern) and Ambo-Welkite (Western) areas groundwater resource assessment and evaluation projects are the major ones completed in the past. Of these, the water supply source of Addis Ababa City and its surrounding towns is mainly from groundwater (about 60 to 70%).

Therefore, in order to derive the optimum benefit from a groundwater scheme, a proper resource study has to be carried out. However, unlike surface water processes, most of the groundwater activity is invisible in the strata that lie below the ground surface. Measurement and monitoring of groundwater flow are therefore extremely difficult. Therefore, in order to minimize most of the simplifying assumptions in groundwater assessment programs, several integrated exploration approaches should be applied. As part of the integrated approach to groundwater exploration, combination of geological, hydrological, hydrogeological and geophysical exploration tools needs to be implemented.  Groundwater recharge is an essential component of such investigation and therefore must be estimated before attempting to develop the groundwater model of an area. Hence, the core and ultimate goal regarding this project shall be to estimate the quantity and investigate the quality of the groundwater available in an area for water supply and/or irrigation development.

The proposed studies shall be carried out in five phases. The first phase (Phase-I) of the investigation is the inception phase composed of review of previous works, overlay analysis to determine groundwater prospective areas, develop conceptual hydrogeological model, preliminary field visit and submission of Inception report. The second phase (Phase-II) comprises field hydro-geophysical surveys in specified target areas to select sites for test and/or pilot production wells, drilling and testing. During the third phase (Phase-III), detail hydrogeological investigation shall be conducted at a specific target area with the aid of test and/or pilot production wells that shall be drilled and tested to assess the groundwater resource; evaluation and management activities that includes determination of aquifer parameters and estimation of total exploitable groundwater resource together with analytical and/or numerical groundwater modelling used for groundwater management shall be carried out. The final activities are preparation of Groundwater Database in Phase-IV, and information dissemination and capacity building in Phase-V.

# General Objective

The general objective of the investigation is to determine the potential (prospective) groundwater sites for groundwater development for intervention of the current and future water demand under consideration of the climate change impacts.

The specific objectives of the study are summarized as follows:

- Undertake water demand assessment for multipurpose utilization.

- Determine the hydrogeological condition of the area: identify sites, evaluate recharge and discharge conditions, delineate spatial distribution of different aquifers, determine hydraulic parameters, analyse water quality of the aquifers and assess impacts of future exploitation of the potential aquifers.

- Qualitative and quantitative evaluation of the groundwater resources on selected potential sites or prospective areas

- Bidding document preparation for drilling and testing of test/pilot production wells

- Supervision of test and/or pilot production wells drilling and testing

- Carry out analytical and/or numerical model of the main aquifer of the area to recommend appropriate groundwater exploitation and management

- Evaluate the groundwater resources and develop strategy of groundwater resources development with their cost estimates.

- Create detailed groundwater resource potential maps

- Identify promising areas for groundwater development

- Conduct enhancement of the national groundwater database and carry out massive processing and uploading of existing data collected from all over the country

Build the capacity of MoWE and Regional Water Bureaus by providing on-the-job training and short courses in groundwater exploration, development and management.

# The Project Area

The proposed study area is situated in Oromia Regional State and Asasa-Bekoji-Arsi Robe-Gololcha areas, which covers about 7 Woredas. Its elevation is approximately in the range of 860 and 4333 m.a.s.l with coordinates UTM Zone 37o (36E-42E North Hemisphere) 467530E to 677999E and 746412N and 952785N and covers an area of about 24,372 km2. The study area is situated entirely within Wabishebele Basin.

Figure 1: Project area location

# Methodology

The proposed methodology for the groundwater resources investigation is an integrated approach set up for data collection, review, field survey, identification, selection and evaluation of prospective sites/well fields. The proposed study should focus on evaluation of the groundwater potential through detailed, comprehensive and integrated methods and will be completed in five phases:

Phase-I: Inception

Phase II- Field Survey of Target Areas

Phase-III: Drilling and Groundwater Resources Evaluation

Phase IV: Groundwater Database Preparation	Phase V: Capacity Building and Information Dissemination

- Phase-I: Inception

Phase-I (Inception) includes preliminary collection and review of existing data from previous works of the area or at near vicinities such as geological (maps 1:250,000 and 1: 50,000 scales), Hydrogeological data (complete borehole data including pump test data), Hydro-metrological data such as (rainfall, Daily maximum and minimum temperature, Relative humidity, wind speed, Sunshine duration and etc.) and Geophysical data such as (VES, TDEM/TEM, MAGNETIC preceded by overlay analysis, preliminary conceptualize hydrogeological setup of the study area, preliminary site visit, preparation of draft Inception report, validation workshop and submission of final inception report shall be conducted.

Preliminary Data Collection and Review

Available geomorphological, geological, hydrogeological, and other maps together with study reports and data will be collected and studied; any available relevant satellite imagery interpretation will be carried out to conceptualize the hydrogeological setup of the area (scale 1:250,000) and finally preliminary conceptual groundwater map of the study area after overlay analysis will be prepared to facilitate the field visit.

Overlay Analysis

Due to large coverage of the area, an overlay analysis is very important to identify specific target locations for aquifer recharging sites (dam & ponds with accessory canals) and monitoring points. An overlay analysis is used also to determine recharge zones where recharge is very effective, environmentally vulnerable areas for land degradation where siltation is hazardous for future dams using weighted overlay analysis aggregate input layers under the GIS environment.

The general steps involve:

- Preparation of physical thematic layers required for multi criteria overlay analysis of study area.

- Determining the significant layers

- Reclassifying or transforming the data within a layer

- Weighting the input layers

- Adding or combining the layers

- Analyzing the result and delineation of the groundwater potential zones.

Preliminary Conceptualization of the Hydrogeology

Development of preliminary conceptual models (hydrogeological cross-sections) of the area for a better understanding of the regional groundwater system based on existing information and overlay analysis outputs will be carried out.

Field Visit

After having the analysis of previous data in combination with the overlay analysis, preliminary site visit should be carried out to ascertain what was interpreted at the office level. Accordingly, site visit will be organized for at least a week to familiarize with the study area, enhance and update the conceptual hydrogeological map. The main purpose of the field visit is to enhance the conceptual understanding of the groundwater system, to verify the geological setting of the prospective groundwater sites and its surrounding area, and to plan more appropriately the subsequent phases (such as site selection for carrying out geophysical survey). Besides, water demand assessment will be carried out in consultation with stakeholders (Regional as well as Zonal/Woreda and local officials/communities).

Inception Report and Workshop

Subsequently, all gathered hydrological, climatological, hydrogeological, geological information and data shall be reviewed and preliminary analysis shall be done integrated with the outcome of the field visit. The main outputs of the Inception will be but not limited to:

- Preliminarily reviewed and analysed previous studies and data

- Identified specific target areas for detail groundwater potential investigation using overlay analysis,

- Prepared different possible conceptual groundwater flow system models of the area,

- Enhanced existing groundwater database and uploaded data,

- Preliminary hydrogeological and groundwater potential maps at a scale of 1:250,000,

- Different formats prepared for collection of existing data and information, which includes format for existing water points inventory (water wells, springs, rivers, reservoirs, etc.)

- Identified data gaps and revised methodology and volume of work for the next phases.

- Present findings of the draft inception phase at a validation Workshop-1. All cost of the venue and client-side Participants of workshop shall be covered by the client and place of work shop shall be as appropriate. Numbers of participants may be till 60 but all fee of the participants from the consultant side (transportation and per diem will be covered by the Consultants)

- Prepare and submit Final Inception Report based on the outcome of Workshop-1.

- Phase-II: Field Survey of Target Areas

At this stage, site specific investigations to be carried out includes geological and geomorphological, hydrological, geophysical survey and hydrogeological investigation with exploratory and or production wells drilling and testing to verify the groundwater potential of the area for further activities.

- Geological and Geomorphological Survey

The geological mapping with a scale of 1:250,000 from phase-1 is the base map for this stage specific areas study to prepare a 1:100,000 scale maps. These maps will be the base map for the preparation of the hydrogeological map of the study area. Geological and geomorphological survey to be carried out with field geological assessment along different traverses to determine:

- Classification of all the rock types and establishment of the stratigraphic relations of litho-stratigraphic units at a scale of 1:100,000 for the selected specific prospective areas.

- Determination of the lateral and vertical extent of litho-stratigraphic units.

- Identification and mapping of all geological structures.

- Determination of the major structures (faults, lineaments, folds, dykes and etc.) having important hydrogeological implications.

- Preparation of geological sections along zones of likely high groundwater flow paths.

- Close observation on the texture, cementation, porosity and general lithostratigraphy of the geological formations at the local sites (geological characterization).

- Other activities which may be required for comprehensive geological investigations.

- Hydrological Study

The main objective of hydrological study is to characterize available rivers/streams within or adjacent to the detailed study areas and assessments on recharge possibilities, accounting of all factors influencing the catchment area, the existence of springs at regional and local scales, and their hydrogeological implications, surface, and groundwater relationships. Hydro-meteorological Studies shall be carried out using:

- Collection, checking of data consistency and analysis of the last 10-years hydro-meteorological data used to know the rainfall-runoff characteristics, to study the climate variability of the area.

- Analyses of hydrological data to determine surface water-groundwater interaction.

- Estimation of groundwater recharge using base flow separation, water balance, Wets pass approaches based on available data (Land Use-Land cover, soil, slope, drainage, groundwater level, permeability...etc.)

- Geophysical Investigation

The main objective of the geophysical investigation is to determine:

- Thickness of different geological formation

- Depth to the groundwater

- Qualitative and/or quantitative evaluation of degree of salinity of the groundwater

- To identify geological structures

- To identify depth to aquifer and determine aquifer thickness

- Spatial variation related to hydraulic properties of the different lithologic units.

- Preparation of Geophysical report with pseudo and geoelectric sections

- To recommend exploratory and/or production well sites for drilling and testing based on the geophysical analysis and interpretation.

It is proposed to carry out geophysical investigation of Vertical Electrical Sounding (VES) and magnetic survey over all of the specific areas along different profiles to obtain subsurface information. VES are recommended in order to identify the resistivity contrast between the different zones of aquifers. Besides this, magnetic survey shall be carried out to identify geological structures and the possible contact with the underling formations.

Although the quantity of VES and Magnetic survey may be increased or decreased based upon the Phase-I output, here in the Phase-II, it is recommended to carry out a total of about 120 VESs AB/2 >= 1000 meters at 2 kilometres interval along the traverse lines and magnetic survey at three of these traverse lines for a total length of 60 km.

- Environmental and Social Impact Assessment

The purposes of conducting environmental and social impact assessment are:

- To assess the baseline condition of the project area,

- To understand the social and environmental situation of the project and asses the planned project implementation and its impact.

- To propose mitigation measures for the expected impacts.

- To carryout Stakeholders interview/discussion related to water demand for domestic, irrigation as well as industries in the target area(s)

- Water Quality Survey

The water quality survey collected shall be conducted for hydro-geochemical characterization of the area and analyse the water samples for the suitability of the water source for domestic and irrigation use.

Water samples shall be collected systematically from surface water bodies (rivers, ponds, reservoirs), springs, dug wells and existing wells in the study area. The water sampling points shall be chosen on the basis of the study results from the regional hydrogeological, geological, structural and tectonic setup of the area. The main parameters to be determined are:

In-situ field measurement of electrical conductivity (EC), pH and water sampling from different water sources (boreholes, hand dug wells, springs, rivers and streams).

Physico-chemical analysis of water samples shall be analysed according to “Standard Methods for the examination of water and Wastewater” published by WPCF/AWWA/APHA 16th edition in laboratory.

A total of about 100 samples shall be collected from all available sources in order to:

- Characterize the chemical composition of the aquifers within and surroundings to determine the recharge and discharge areas

- Identify groundwater pollution sources using available spatial information and additional analysis, where required

- Determine the spatial distribution of groundwater quality maps (EC, TDS, SAR…)

- Characterize the groundwater of the study area, its suitability for domestic water supply based on Ethiopian Drinking Water and WHO standards and for irrigation based on Sodium Adsorption Ratio (SAR) and the United States Salinity Laboratory (USSL).

- Hydrogeological Study and Workshop

For further familiarization and visualization of the groundwater condition of the area, it is proposed to conduct detail hydrogeological surveys in the specific target areas. The hydrogeological surveys mainly include but not limited to the following:

- Inventory of springs, wells and all boreholes and records of their geographic locations (taken by GPS) with labelled codes.

- Identify major aquifers, define their possible extent based on the available data and field inspection combined with the geological data

- Hydrological/hydrogeological observations and measurements of water level (groundwater level observations) from boreholes with their discharge measurements where applicable.

- A field observation on the geomorphology, land use, vegetation, and geological structures

- Field observation and mapping of groundwater manifestation horizons like seepage zones, spring, etc, and groundwater flow directions.

- Assessment/evaluations of recharge conditions for the area for its sustainable utilization

- Regional view and understanding of the groundwater system of the specific target area/s

- Estimation of the hydraulic properties of the aquifers

- Other basic data/parameters that may be revealed during the study

- Make analysis of groundwater level data and geological setup to determine the groundwater flow direction and zones of aquifer-surface water interactions.

- Map and verify Hydrogeological boundaries and units (hydrogeological mapping at 1:100,000).

- Proposal (selection) of exploratory and/or pilot production well sites to be drilled and tested for phase-III activities based on the updated overall information including geophysical analysis and interpretation result

- Bidding document preparation for test and/or pilot production wells drilling and testing.

- Present and discuss findings and prospective drilling sites to stakeholders of the Phase-II at a validation Workshop-2

- Prepare and submit the final Phase-II report based on the outcome of the workshop

- Phase-III: Drilling and Groundwater Resources Evaluation

Groundwater resource evaluation of specific target area shall be carried out by using supervision of test and/or pilot production wells drilling and testing. In this stage, eight (8) test and/or pilot production wells will be drilled and tested and used for groundwater resource evaluation. Such wells are also very important to generate site specific hydrogeological data (aquifer characterization) and they are also usable for water supply for the community domestic/ irrigation use (double importance). The Consultant should undertake the following tasks during the drilling and testing supervision activity;

- Contract administration (project duration, activity dependency, critical logistics)

- Supervise the drilling and testing activity of eight (8) test/pilot production wells from the very beginning up to the end as per the specification (Drilling, casing installation, well development, pumping test, etc.).

- Measure and collect important data during drilling of the test wells (EC, TDS, temperature of the gashing out water and/or drilling fluid), the rate of drilling, or any situations (caving, water loss, etc.) encountering while the drilling is in progress

- Supervise the borehole-geophysical logging work and analyse the result in correlation with lithological log, and prepare casing arrangement accordingly

- Check and certify payment certificates, manage the cost of the project

- Prepare borehole completion report, including Vertical section drawings of completed borehole together with geologic log, pumping test data and their analysis, water quality and their analysis, etc. and then submit to the Client.

Groundwater Resource Evaluation

The groundwater resource evaluation in this stage is mainly based on the outcome from the drilling and testing of the nine (9) test/pilot production wells with the following specific points to be achieved by carrying out detail Hydrogeological Investigation:

- Interpretation and calibration of the geophysical survey results using drilling results of the test and/or pilot production wells

- Detail investigation of the hydrogeological system

- Aquifer characterization and determination of aquifer parameters

- Delineation of the main aquifer

- Evaluation of the quantity and quality of groundwater

- Determination of rational technical and economical distribution of production wells for future drilling

- Analytical and/or numerical groundwater model

- Map and verify hydrogeological boundaries and units (hydrogeological mapping at 1:50,000 based on the extent of potential areas)

- Characterize the intra and inter annual groundwater recharge dynamics under the current and predicted effects of climate change

- Estimation of the total exploitable groundwater resources

- Assess the temporal changes in groundwater levels under current and future climate change scenarios (under the current and predicted effects of climate change).

- Present and discuss findings to stakeholders of the Phase-III at a validation Workshop-3

- Prepare and submit the final Phase-III report based on the outcome of the Workshop

- Phase-IV: Groundwater Database Preparation

The existing groundwater database available at the Ministry of Water and Energy (ENGDA, ENGWIS and the recently completed web-based groundwater information system developed by Acacia Waters and Aquacon Engineering, which is currently hosted by Ministry of Innovation and Technology) and others if any shall be reviewed, updated and enhanced. All data generated during this study shall be uploaded into the new database system.

- Phase V: Capacity Building and Information Dissemination

Ten (10)-days training will be organized and provided by the Consultant for at least 20 participants from Ministry of Water Groundwater experts and Hydrogeologists from Regional Water Bureaus.  All costs for the venue and participants will be covered by the consultants in at least three-star Hotel. The place shall be selected as appropriate by consent of client.  The training participants will be from relevant stakeholders to explain the steps of groundwater resource assessment and evaluation to ensure that the hydrogeological investigation work can continue in this way in the country. This training will require the steps of groundwater mapping, the interpretation of the remote sensing overlays, the weighting process for the different layers and the final interpretation of the maps for targeting well prospects, integrating borehole and surface geophysical information. It will also cover basics of groundwater modelling, three-dimensional model setup, and analysis of the simulation results (groundwater recharge and groundwater level, current and future scenarios). The Consultant will provide all material and software for the training.

The main component of this phase is to train staffs of the Ministry of Water and Energy involved in groundwater resource assessment and management and Water Management Zones on concepts, techniques for assessment and management of groundwater resources.

Proposed Equipment and Software for the study

The Consultant shall avail the following equipment and other relevant kits for the survey:

- IRS Syscal junior system resistivity meter

- GSM-19 Magneto meter

- Tomographic geophysical survey (Imaging)

- Measuring tape

- Magnifying lens

- CCTV

- Caliper

- Compass

- Clinometers

- GPS

- Geologic Hammers

- Deep meter 200 and 300 m

- EC-meter

- Land sat / Spot imageries of the study area

- First aid kit

- Laptop

Computer Software

- Groundwater Modelling Software (3D Visual Mod flow 15.1 and/or Modflow pro, GMS)

- Software for Interpretation of Geophysical survey results

- AutoCAD

- GIS and Image processing software (ArcGIS and ERDAS)

- HydroGeoAnalyst 2016 for data management

Ministry of Water and Energy shall disseminate all generated data, maps and information to be ready for website uploading/printable version based on data and information sharing policy and regulation.

# Reporting and Schedule of Deliverables

The consultancy service is expected to last for a maximum of 14-months. Of this, 6-months are allocated for drilling and testing supervision of eight (8) test and/or pilot production wells to evaluate the groundwater resource. The drilling and testing result will be used to realize the achievement of overall hydrogeological investigation and it has to be completed within the allocated time. It is, however, the responsibility of the Consultant to establish a detailed work program within the above time frame, taking into consideration the estimated man-month requirements. This should be guided by their professional judgment of the assignment’s requirements and knowledge of the local conditions and needs.

| Item No. | Deliverable (Report) | Deliverable Contents to be included but not limited to | Number of Copies | Time frame (M-Month) | Payment Schedule |
| --- | --- | --- | --- | --- | --- |
| 1 | Draft Inception report (Phase-I) | The report includes: Intensive review of available documents and collected data, different thematic layers for multi-criteria overlay analysis delineated groundwater potential zones preliminary conceptualized hydrogeological models (X-sections and hydrogeological maps 1:250,000), identified data gaps for further phase works and proposed methodology and final work plan for the next phases | 5 | M+1.5 | - |
| 2 | Final Inception report (Phase-I) | Final inception report submission after incorporating comments/feedbacks of Workshop-1 | 5 | M+2 | 30% |
| 3 | Draft field survey report for selected prospective area (s) (Phase-II) | Comprises; inventory water points data, identified aquifers, source, rate and mechanism of recharge, discharge condition, geological and hydrogeological maps (1:100,000) with x-sections, geophysical, geo-electrical & pseudo-sections, regional as well as local groundwater flow systems, estimated hydraulic properties of identified aquifers, surface-groundwater interaction conditions, maps showing selected sites for test and/or pilot production wells drilling and testing, bid and drilling specification documents | 5 | M+4.5 | - |
| 4 | Final field survey report (Phase-II) | Final field surveys report submission after incorporating comments/feedbacks from the Workshop-2 | 5 | M+5 | 40% |
| 5 | Draft groundwater resource evaluation report (Phase-III), Developed Groundwater database (Phase-IV) and Training manual (Phase-V) | Draft detail hydrogeological investigation and analytical/numerical groundwater flow modelling for specific target sites/well fields comprises mainly; major aquifers, hydrogeological maps (1:50,000) & X-sections, estimated total exploitable groundwater resource, groundwater recharge and water level dynamics under current and predicted climate changes, drilling of selected production well sites for intended purpose, Enhanced groundwater database, and Training manuals and 20-trained and capacitated participants | 5, 20-training manuals | M+13 | - |
| 6 | Final groundwater resource evaluation report (Phase-III) | Final groundwater resource evaluation report after incorporation of comments and suggestions from Workshop-3 | 5 | M+14 | 30% |
| 7 | 3-workshops | At the end of Phase-I, II and -III | - | M+1.5, M+4.5 and M+13 |  |

All reports shall be submitted in both soft (MS Word, PDF) and hard copies. The hard copies will be prepared in A4 format, except for plans and drawings which should be prepared in A3 format. In addition, maps have to be prepared with A0 size paper. The reports should be clearly labelled, i.e., title of the study indicated, for easy identification and documentation purposes. All reports shall be prepared in the English language. Please note that the Consultant will be expected within one (1) week of submission of draft reports (Phase-I, II, III) to make presentations to the respected stakeholders. At each workshop, the Consultant shall make PowerPoint presentations, provide concise background documents for discussion and prepare workshop reports to document the proceedings. All cost of the venue and client-side Participants of workshop will be covered by the client and place of work shop shall be as appropriate. Numbers of participants may be till 60 but all fee of the participants from the consultant side (transportation and per diem will be covered by the Consultants).

# Organization of the Assignment

Ministry of Water and Energy coordinate and manage the overall activities and all deliverables shall be submitted to them. Project coordinators shall be appointed by the Ministry to supervise the implementation of the entire works and coordinate the day-to-day activities.

The Consultant is required to elaborate in his technical offer on the envisaged logistical set-up and deployment of appropriate skills for the execution of the assignment. The consultant should carefully review the scope of works and propose a team of well-organized competent staff, adequately equipped with the necessary skills/facilities to execute the assignment, bearing in mind that a substantial amount of work in this assignment is field based.

# Qualification and Experience of Key Personnel

The Consultant shall identify and deploy a team necessary to carry out the assignment and should describe clearly the functions of each team member. The Consultant is however expected to provide a team, composed of the following key staff. The Consultant has the right to propose additional staff/competencies/short-term specialists as deemed appropriate for the successful execution of the assignment.

Table 1: Professional Requirement

| No | Job Title | # | Qualification and Education | Specific Experiences | General Experience | Time-Month |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Project Manager/ Team Leader | 1 | MSc in Hydrogeology/ Water Resources Engineering | At least 10 years of specific experiences in hydrogeology and groundwater development management of which 3 years in management of drilling operation and contract administration works | At least 13 years of general experience in Infrastructure Construction, Study and Design of Water Supply in WaSH/WRM/ Irrigation or construction sectors | 14 |
| 2 | Senior Hydrogeologist | 1 | MSc in Hydrogeology | At least 10 years of specific experiences in hydrogeological investigation and groundwater development and drilling work supervision | At least 12 years of general experience in Mining, Study and Design of Water Supply in WaSH/WRM/ Irrigation or Mining and drilling sectors | 14 |
| 3 | Senior Geophysicist | 2 | MSc in Geophysics or related fields | At least 8 years experiences in geophysical application to water source mapping (groundwater investigation and borehole logging), analysis and interpretation | At least 10 years general experiences in geophysics and groundwater exploration in WaSH/WRM/Irrigation or construction sub sectors | 5 |
| 4 | Senior Geologist | 2 | MSc in Geology | At least 10 years of specific experience in geological investigation related to groundwater applications | At least 13 years of general experiences in geological and geomorphological mapping works in WaSH/WRM/Irrigation or construction sectors | 5 |
| 5 | Senior Hydrologist | 1 | M.Sc. in Hydrology/ Water Resource Engineering/ Hydraulics Engineering or related fields | At least 10 years of specific experience in hydrological study and water supply works | At least 13 years of general experience in hydrological works in WaSH/WRM/Irrigation/ Mining /drilling sub sectors | 5 |
| 6 | Senior RS & GIS Expert | 1 | MSc in RS & GIS or related fields | At least 10 years of GIS, Remote Sensing or relevant mapping experience in water supply works | At least 12 years of general experience in GIS and Remote Sensing WaSH/WRM/ Irrigation or construction sectors | 5 |
| 7 | Supervising Hydrogeologists | 5 | BSC/MSc in Geology/ Hydrogeology | At least 10/8 years specific experiences in supervision of drilling and construction of deep-water wells and contract administration works | At least 12/10 years general experiences in geological and water works study design in WaSH/WRM/Irrigation or construction sectors | 12 |
| 8 | Senior Socio-Economist | 1 | MSc in Sociology or related fields | At least 8-years of specific experiences in socio-economic study works in the water sector | At least 10-years of general experiences in socio-economic study and design of Water supply projects of WaSH/WRM/Irrigation or construction sectors | 5 |
| 9 | Senior Environmentalist | 1 | MSc in Environmental Engineering or related fields | At least 8-years of specific experiences in Environmental study works in the water sector | At least 10-years of general experience in Environmental study and design of Water supply projects of WaSH/WRM/Irrigation or construction sectors | 5 |

- LOT 5. Groundwater Potential Assessment of

Upper Bilate catchment, SNNP Region

FEDERAL DEMOCRATIC REPUBLIC OF ETHIOPIA

MINISTRY OF WATER AND ENERGY

Terms of Reference for

Groundwater Potential Assessment of Upper Blate catchment, SNNP Region

June 2023

Addis Ababa

Table of Contents

1.	Background	2

2.	General Objective	3

3.	The Project Area	5

4.	Methodology	6

5.	Reporting and schedule of Deliverables	14

6.	Organization of the assignment	16

7.	Qualification and Experience of Key personnel	16

# Background

Groundwater is able to create drought resilience, improve the welfare of the population, to utilize the land resources and for sustainable agricultural production. In this regard, the use of groundwater for water supply and/or irrigation practices is expected to result in far reaching implication in ensuring food security for urban and the rural community. The Project is part of a regional HoA initiative that aims to strengthen the resilience of targeted communities through the management and collaborative use of the groundwater resources and is funded by the World Bank.

Water insecurity is a growing concern globally, especially in developing countries, where a combination of population growth, urbanization, changing consumption patterns along with improved living standards, and climate change variability put increasing pressure on water supply systems. Development of groundwater scheme has received considerable attention in recent years. However, in many such instances, the expansion of groundwater development has not been preceded or accompanied by systematic studies to evaluate the resource potentials of the respective aquifers.

Exploration of groundwater potential has been undertaking with a very good results in different parts of Ethiopia. So far, many groundwater resource assessment and evaluation projects covering broad areas were completed mainly by the Ministry of Water and Energy, UNICEF and ATA. These include Raya-Kobo-Girana (Northern), Teru-Chifra (North Eastern), Allaidege (Main Ethiopian Rift), Meskan-Mareko-Silte, Lower Bilate (Rift Valley), Adaa-Becho-Addis Ababa (Central), Fafem-Jerer (Eastern) and Ambo-Welkite (Western) areas groundwater resource assessment and evaluation projects are the major ones completed in the past. Of these, the water supply source of Addis Ababa City and its surrounding towns is mainly from groundwater (about 60 to 70%).

Therefore, in order to derive the optimum benefit from a groundwater scheme, a proper resource study has to be carried out. However, unlike surface water processes, most of the groundwater activity is invisible in the strata that lie below the ground surface. Measurement and monitoring of groundwater flow are therefore extremely difficult. Therefore, in order to minimize most of the simplifying assumptions in groundwater assessment programs, several integrated exploration approaches should be applied. As part of the integrated approach to groundwater exploration, combination of geological, hydrological, hydrogeological and geophysical exploration tools needs to be implemented.  Groundwater recharge is an essential component of such investigation and therefore must be estimated before attempting to develop the groundwater model of an area. Hence, the core and ultimate goal regarding this project shall be to estimate the quantity and investigate the quality of the groundwater available in an area for water supply and/or irrigation development.

The proposed studies shall be carried out in five phases. The first phase (Phase-I) of the investigation is the inception phase composed of review of previous works, overlay analysis to determine groundwater prospective areas, develop conceptual hydrogeological model, preliminary field visit and submission of Inception report. The second phase (Phase-II) comprises field hydro-geophysical surveys in specified target areas to select sites for test and/or pilot production wells, drilling and testing. During the third phase (Phase-III), detail hydrogeological investigation shall be conducted at a specific target area with the aid of test and/or pilot production wells that shall be drilled and tested to assess the groundwater resource; evaluation and management activities that includes determination of aquifer parameters and estimation of total exploitable groundwater resource together with analytical and/or numerical groundwater modelling used for groundwater management shall be carried out. The final activities are preparation of Groundwater Database in Phase-IV, and information dissemination and capacity building in Phase-V.

# General Objective

The general objective of the investigation is to determine the potential (prospective) groundwater sites for groundwater development for intervention of the current and future water demand under consideration of the climate change impacts.

The specific objectives of the study are summarized as follows:

- Undertake water demand assessment for multipurpose utilization.

- Determine the hydrogeological condition of the area: identify sites, evaluate recharge and discharge conditions, delineate spatial distribution of different aquifers, determine hydraulic parameters, analyse water quality of the aquifers and assess impacts of future exploitation of the potential aquifers.

- Qualitative and quantitative evaluation of the groundwater resources on selected potential sites or prospective areas

- Bidding document preparation for drilling and testing of test/pilot production wells

- Supervision of test and/or pilot production wells drilling and testing

- Carry out analytical and/or numerical model of the main aquifer of the area to recommend appropriate groundwater exploitation and management

- Evaluate the groundwater resources and develop strategy of groundwater resources development with their cost estimates.

- Create detailed groundwater resource potential maps

- Identify promising areas for groundwater development

- Conduct enhancement of the national groundwater database and carry out massive processing and uploading of existing data collected from all over the country

- Build the capacity of MoWE and Regional Water Bureaus by providing on-the-job training and short courses in groundwater exploration, development and management

# The Project Area

The proposed study area is situated in SNNP Regional State covers more than 10-Woredas. Geographically, its location is dropped under the projection of UTM Zone 370 (36-42-North Hemisphere) 357485E to 445115E longitude and 782148N and 873377N latitude, covers an area of about 3,360km2. The study area is situated entirely within Upper Blate Catchment.

Figure 1: Project area location

# Methodology

The proposed methodology for the groundwater resources investigation is an integrated approach set up for data collection, review, field survey, identification, selection and evaluation of prospective sites/well fields. The proposed study should focus on evaluation of the groundwater potential through detailed, comprehensive and integrated methods and will be completed in five phases:

Phase-I: Inception

Phase II- Field Survey of Target Areas

Phase-III: Drilling and Groundwater Resources Evaluation

Phase IV: Groundwater Database Preparation

Phase V: Capacity Building and Information Dissemination

- Phase-I: Inception

Phase-I (Inception) includes preliminary collection and review of existing data from previous works of the area or at near vicinities such as geological (maps 1:250,000 and 1: 50,000 scales), Hydrogeological data (complete borehole data including pump test data), Hydro-metrological data such as (rainfall, Daily maximum and minimum temperature, Relative humidity, wind speed, Sunshine duration and etc.) and Geophysical data such as (VES, TDEM/TEM, MAGNETIC preceded by overlay analysis, preliminary conceptualize hydrogeological setup of the study area, preliminary site visit, preparation of draft Inception report, validation workshop and submission of final inception report shall be conducted.

Preliminary Data Collection and Review

Available geomorphological, geological, hydrogeological, and other maps together with study reports and data will be collected and studied; any available relevant satellite imagery interpretation will be carried out to conceptualize the hydrogeological setup of the area (scale 1:250,000) and finally preliminary conceptual groundwater map of the study area after overlay analysis will be prepared to facilitate the field visit.

Overlay Analysis

Due to large coverage of the area, an overlay analysis is very important to identify specific target locations for aquifer recharging sites (dam & ponds with accessory canals) and monitoring points. An overlay analysis is used also to determine recharge zones where recharge is very effective, environmentally vulnerable areas for land degradation where siltation is hazardous for future dams using weighted overlay analysis aggregate input layers under the GIS environment.

The general steps involve:

- Preparation of physical thematic layers required for multi criteria overlay analysis of study area.

- Determining the significant layers

- Reclassifying or transforming the data within a layer

- Weighting the input layers

- Adding or combining the layers

- Analyzing the result and delineation of the groundwater potential zones.

Preliminary Conceptualization of the Hydrogeology

Development of preliminary conceptual models (hydrogeological cross-sections) of the area for a better understanding of the regional groundwater system based on existing information and overlay analysis outputs will be carried out.

Field Visit

After having the analysis of previous data in combination with the overlay analysis, preliminary site visit should be carried out to ascertain what was interpreted at the office level. Accordingly, site visit will be organized for at least a week to familiarize with the study area, enhance and update the conceptual hydrogeological map. The main purpose of the field visit is to enhance the conceptual understanding of the groundwater system, to verify the geological setting of the prospective groundwater sites and its surrounding area, and to plan more appropriately the subsequent phases (such as site selection for carrying out geophysical survey). Besides, water demand assessment will be carried out in consultation with stakeholders (Regional as well as Zonal/Woreda and local officials/communities).

Inception Report and Workshop

Subsequently, all gathered hydrological, climatological, hydrogeological, geological information and data shall be reviewed and preliminary analysis shall be done integrated with the outcome of the field visit. The main outputs of the Inception will be but not limited to:

- Preliminarily reviewed and analysed previous studies and data

- Identified specific target areas for detail groundwater potential investigation using overlay analysis,

- Prepared different possible conceptual groundwater flow system models of the area,

- Enhanced existing groundwater database and uploaded data,

- Preliminary hydrogeological and groundwater potential maps at a scale of 1:250,000,

- Different formats prepared for collection of existing data and information, which includes format for existing water points inventory (water wells, springs, rivers, reservoirs, etc.)

- Identified data gaps and revised methodology and volume of work for the next phases.

- Present findings of the draft inception phase at a validation Workshop-1. All cost of the     venue and Participants of workshop will be covered by the client and place of work shop will be as appropriate. Numbers of participants may be till 60 but all fee of the participants from the consultant side (transportation and per diem will be covered by the Consultants).

- Prepare and submit Final Inception Report based on the outcome of Workshop-1.

- Phase-II: Field Survey of Target Areas

At this stage, site specific investigations to be carried out includes geological and geomorphological, hydrological, geophysical survey and hydrogeological investigation with exploratory and or production wells drilling and testing to verify the groundwater potential of the area for further activities.

- Geological and Geomorphological Survey

The geological mapping with a scale of 1:250,000 from phase-1 is the base map for this stage specific areas study to prepare a 1:100,000 scale maps. These maps will be the base map for the preparation of the hydrogeological map of the study area. Geological and geomorphological survey to be carried out with field geological assessment along different traverses to determine:

- Classification of all the rock types and establishment of the stratigraphic relations of litho-stratigraphic units at a scale of 1:100,000 for the selected specific prospective areas.

- Determination of the lateral and vertical extent of litho-stratigraphic units.

- Identification and mapping of all geological structures.

- Determination of the major structures (faults, lineaments, folds, dykes and etc.) having important hydrogeological implications.

- Preparation of geological sections along zones of likely high groundwater flow paths.

- Close observation on the texture, cementation, porosity and general lithostratigraphy of the geological formations at the local sites (geological characterization).

- Other activities which may be required for comprehensive geological investigations.

- Hydrological Study

The main objective of hydrological study is to characterize available rivers/streams within or adjacent to the detailed study areas and assessments on recharge possibilities, accounting of all factors influencing the catchment area, the existence of springs at regional and local scales, and their hydrogeological implications, surface, and groundwater relationships. Hydro-meteorological Studies shall be carried out using:

- Collection, checking of data consistency and analysis of the last 10-years hydro-meteorological data used to know the rainfall-runoff characteristics, to study the climate variability of the area.

- Analyses of hydrological data to determine surface water-groundwater interaction.

- Estimation of groundwater recharge using base flow separation, water balance, Wets pass approaches based on available data (Land Use-Land cover, soil, slope, drainage, groundwater level, permeability...etc.)

- Geophysical Investigation

The main objective of the geophysical investigation is to determine:

- Thickness of different geological formation

- Depth to the groundwater

- Qualitative and/or quantitative evaluation of degree of salinity of the groundwater

- To identify geological structures

- To identify depth to aquifer and determine aquifer thickness

- Spatial variation related to hydraulic properties of the different lithologic units.

- Preparation of Geophysical report with pseudo and geoelectric sections

- To recommend exploratory and/or production well sites for drilling and testing based on the geophysical analysis and interpretation.

It is proposed to carry out geophysical investigation of Vertical Electrical Sounding (VES) and magnetic survey over all of the specific areas along different profiles to obtain subsurface information. VES are recommended in order to identify the resistivity contrast between the different zones of aquifers. Besides this, magnetic survey shall be carried out to identify geological structures and the possible contact with the underling formations.

Although the quantity of VES and Magnetic survey may be increased or decreased based upon the Phase-I output, here in the Phase-II, it is recommended to carry out a total of about 120 VESs AB/2 >= 1000 meters at 2 kilometres interval along the traverse lines and magnetic survey at three of these traverse lines for a total length of 60 km.

- Environmental and Social Impact Assessment

The purposes of conducting environmental and social impact assessment are:

- To assess the baseline condition of the project area,

- To understand the social and environmental situation of the project and asses the planned project implementation and its impact.

- To propose mitigation measures for the expected impacts.

- To carryout Stakeholders interview/discussion related to water demand for domestic, irrigation as well as industries in the target area(s)

- Water Quality Survey

The water quality survey collected shall be conducted for hydro-geochemical characterization of the area and analyse the water samples for the suitability of the water source for domestic and irrigation use.

Water samples shall be collected systematically from surface water bodies (rivers, ponds, reservoirs), springs, dug wells and existing wells in the study area. The water sampling points shall be chosen on the basis of the study results from the regional hydrogeological, geological, structural and tectonic setup of the area. The main parameters to be determined are:

In-situ field measurement of electrical conductivity (EC), pH and water sampling from different water sources (boreholes, hand dug wells, springs, rivers and streams).Physico-chemical analysis of water samples shall be analysed according to “Standard Methods for the examination of water and Wastewater” published by WPCF/AWWA/APHA 16th edition in laboratory.

A total of about 100 samples shall be collected from all available sources in order to:

- Characterize the chemical composition of the aquifers within and surroundings to determine the recharge and discharge areas

- Identify groundwater pollution sources using available spatial information and additional analysis, where required

- Determine the spatial distribution of groundwater quality maps (EC, TDS, SAR…)

- Characterize the groundwater of the study area, its suitability for domestic water supply based on Ethiopian Drinking Water and WHO standards and for irrigation based on Sodium Adsorption Ratio (SAR) and the United States Salinity Laboratory (USSL).

- Hydrogeological Study and Workshop

For further familiarization and visualization of the groundwater condition of the area, it is proposed to conduct detail hydrogeological surveys in the specific target areas. The hydrogeological surveys mainly include but not limited to the following:

- Inventory of springs, wells and all boreholes and records of their geographic locations (taken by GPS) with labelled codes.

- Identify major aquifers, define their possible extent based on the available data and field inspection combined with the geological data

- Hydrological/hydrogeological observations and measurements of water level (groundwater level observations) from boreholes with their discharge measurements where applicable.

- A field observation on the geomorphology, land use, vegetation, and geological structures

- Field observation and mapping of groundwater manifestation horizons like seepage zones, spring, etc, and groundwater flow directions.

- Assessment/evaluations of recharge conditions for the area for its sustainable utilization

- Regional view and understanding of the groundwater system of the specific target area/s

- Estimation of the hydraulic properties of the aquifers

- Other basic data/parameters that may be revealed during the study

- Make analysis of groundwater level data and geological setup to determine the groundwater flow direction and zones of aquifer-surface water interactions.

- Map and verify Hydrogeological boundaries and units (hydrogeological mapping at 1:100,000).

- Proposal (selection) of exploratory and/or pilot production well sites to be drilled and tested for phase-III activities based on the updated overall information including geophysical analysis and interpretation result

- Bidding document preparation for test and/or pilot production wells drilling and testing.

- Present and discuss findings and prospective drilling sites to stakeholders of the Phase-II at a validation Workshop-2

- Prepare and submit the final Phase-II report based on the outcome of the workshop

- Phase-III: Drilling and Groundwater Resources Evaluation

Groundwater resource evaluation of specific target area shall be carried out by using supervision of test and/or pilot production wells drilling and testing. In this stage, eight (8) test and/or pilot production wells will be drilled and tested and used for groundwater resource evaluation. Such wells are also very important to generate site specific hydrogeological data (aquifer characterization) and they are also usable for water supply for the community domestic/ irrigation use (double importance). The Consultant should undertake the following tasks during the drilling and testing supervision activity;

- Contract administration (project duration, activity dependency, critical logistics)

- Supervise the drilling and testing activity of eight (8) test/pilot production wells from the very beginning up to the end as per the specification (Drilling, casing installation, well development, pumping test, etc.).

- Measure and collect important data during drilling of the test wells (EC, TDS, temperature of the gashing out water and/or drilling fluid), the rate of drilling, or any situations (caving, water loss, etc.) encountering while the drilling is in progress

- Supervise the borehole-geophysical logging work and analyse the result in correlation with lithological log, and prepare casing arrangement accordingly

- Check and certify payment certificates, manage the cost of the project

- Prepare borehole completion report, including Vertical section drawings of completed borehole together with geologic log, pumping test data and their analysis, water quality and their analysis, etc. and then submit to the Client.

Groundwater Resource Evaluation

The groundwater resource evaluation in this stage is mainly based on the outcome from the drilling and testing of the six (6) test/pilot production wells with the following specific points to be achieved by carrying out detail Hydrogeological Investigation:

- Interpretation and calibration of the geophysical survey results using drilling results of the test and/or pilot production wells

- Detail investigation of the hydrogeological system

- Aquifer characterization and determination of aquifer parameters

- Delineation of the main aquifer

- Evaluation of the quantity and quality of groundwater

- Determination of rational technical and economical distribution of production wells for future drilling

- Analytical and/or numerical groundwater model

- Map and verify hydrogeological boundaries and units (hydrogeological mapping at 1:50,000 based on the extent of potential areas)

- Characterize the intra and inter annual groundwater recharge dynamics under the current and predicted effects of climate change

- Estimation of the total exploitable groundwater resources

- Assess the temporal changes in groundwater levels under current and future climate change scenarios (under the current and predicted effects of climate change).

- Present and discuss findings to stakeholders of the Phase-III at a validation Workshop-3

- Prepare and submit the final Phase-III report based on the outcome of the Workshop

- Phase-IV: Groundwater Database Preparation

The existing groundwater database available at the Ministry of Water and Energy (ENGDA, ENGWIS and the recently completed web-based groundwater information system developed by Acacia Waters and Aquacon Engineering, which is currently hosted by Ministry of Innovation and Technology) and others if any shall be reviewed, updated and enhanced. All data generated during this study shall be uploaded into the new database system.

- Phase V: Capacity Building and Information Dissemination

Ten (10)-days training will be organized and provided by the Consultant for at least 20 participants from Ministry of Water Groundwater experts and Hydrogeologists from Regional Water Bureaus.  All costs for the venue and participants will be covered by the consultants in at least three-star Hotel. The place shall be selected as appropriate by consent of client. The training participants will be from relevant stakeholders to explain the steps of groundwater resource assessment and evaluation to ensure that the hydrogeological investigation work can continue in this way in the country. This training will require the steps of groundwater mapping, the interpretation of the remote sensing overlays, the weighting process for the different layers and the final interpretation of the maps for targeting well prospects, integrating borehole and surface geophysical information. It will also cover basics of groundwater modelling, three-dimensional model setup, and analysis of the simulation results (groundwater recharge and groundwater level, current and future scenarios). The Consultant will provide all material and software for the training.

The main component of this phase is to train staffs of the Ministry of Water and Energy involved in groundwater resource assessment and management and Water Management Zones on concepts, techniques for assessment and management of groundwater resources.

Proposed Equipment and Software for the study

The Consultant shall avail the following equipment and other relevant kits for the survey:

- IRS Syscal junior system resistivity meter

- GSM-19 Magneto meter

- Tomographic geophysical survey (Imaging)

- Measuring tape

- Magnifying lens

- CCTV

- Caliper

- Compass

- Clinometers

- GPS

- Geologic Hammers

- Deep meter 200 and 300 m

- EC-meter

- Land sat / Spot imageries of the study area

- First aid kit

- Laptop

Computer Software

- Groundwater Modelling Software (3D Visual Mod flow 15.1 and/or Modflow pro, GMS)

- Software for Interpretation of Geophysical survey results

- AutoCAD

- GIS and Image processing software (ArcGIS and ERDAS)

- HydroGeoAnalyst 2016 for data management

Ministry of Water and Energy shall disseminate all generated data, maps and information to be ready for website uploading/printable version based on data and information sharing policy and regulation.

# Reporting and Schedule of Deliverables

The consultancy service is expected to last for a maximum of 14-months. Of this, 6-months are allocated for drilling and testing supervision of eight (8) test and/or pilot production wells to evaluate the groundwater resource. The drilling and testing result will be used to realize the achievement of overall hydrogeological investigation and it has to be completed within the allocated time. It is, however, the responsibility of the Consultant to establish a detailed work program within the above time frame, taking into consideration the estimated man-month requirements. This should be guided by their professional judgment of the assignment’s requirements and knowledge of the local conditions and needs.

| Item No. | Deliverable (Report) | Deliverable Contents to be included but not limited to | Number of Copies | Time frame (M-Month) | Payment Schedule |
| --- | --- | --- | --- | --- | --- |
| 1 | Draft Inception report (Phase-I) | The report includes: Intensive review of available documents and collected data, different thematic layers for multi-criteria overlay analysis delineated groundwater potential zones preliminary conceptualized hydrogeological models (X-sections and hydrogeological maps 1:250,000), identified data gaps for further phase works and proposed methodology and final work plan for the next phases | 5 | M+1.5 | - |
| 2 | Final Inception report (Phase-I) | Final inception report submission after incorporating comments/feedbacks of Workshop-1 | 5 | M+2 | 30% |
| 3 | Draft field survey report for selected prospective area (s) (Phase-II) | Comprises; inventory water points data, identified aquifers, source, rate and mechanism of recharge, discharge condition, geological and hydrogeological maps (1:100,000) with x-sections, geophysical, geo-electrical & pseudo-sections, regional as well as local groundwater flow systems, estimated hydraulic properties of identified aquifers, surface-groundwater interaction conditions, maps showing selected sites for test and/or pilot production wells drilling and testing, bid and drilling specification documents | 5 | M+4.5 | - |
| 4 | Final field survey report (Phase-II) | Final field surveys report submission after incorporating comments/feedbacks from the Workshop-2 | 5 | M+5 | 40% |
| 5 | Draft groundwater resource evaluation report (Phase-III), Developed Groundwater database (Phase-IV) and Training manual (Phase-V) | Draft detail hydrogeological investigation and analytical/numerical groundwater flow modelling for specific target sites/well fields comprises mainly; major aquifers, hydrogeological maps (1:50,000) & X-sections, estimated total exploitable groundwater resource, groundwater recharge and water level dynamics under current and predicted climate changes, drilling of selected production well sites for intended purpose, Enhanced groundwater database, and Training manuals and 20-trained and capacitated participants | 5, 20-training manuals | M+13 | - |
| 6 | Final groundwater resource evaluation report (Phase-III) | Final groundwater resource evaluation report after incorporation of comments and suggestions from Workshop-3 | 5 | M+14 | 30% |
| 7 | 3-workshops | At the end of Phase-I, II and -III | - | M+1.5, M+4.5 and M+13 |  |

All reports shall be submitted in both soft (MS Word, PDF) and hard copies. The hard copies will be prepared in A4 format, except for plans and drawings which should be prepared in A3 format. In addition, maps have to be prepared with A0 size paper. The reports should be clearly labelled, i.e., title of the study indicated, for easy identification and documentation purposes. All reports shall be prepared in the English language. Please note that the Consultant will be expected within one (1) week of submission of draft reports (Phase-I, II, III) to make presentations to the respected stakeholders. At each workshop, the Consultant shall make PowerPoint presentations, provide concise background documents for discussion and prepare workshop reports to document the proceedings. All cost of the venue and client-side Participants of workshop will be covered by the client and place of work shop shall be as appropriate. Numbers of participants may be till 60 but all fee of the participants from the consultant side (transportation and per diem will be covered by the Consultants).

# Organization of the Assignment

Ministry of Water and Energy coordinate and manage the overall activities and all deliverables shall be submitted to them. Project coordinators shall be appointed by the Ministry to supervise the implementation of the entire works and coordinate the day-to-day activities.

The Consultant is required to elaborate in his technical offer on the envisaged logistical set-up and deployment of appropriate skills for the execution of the assignment. The consultant should carefully review the scope of works and propose a team of well-organized competent staff, adequately equipped with the necessary skills/facilities to execute the assignment, bearing in mind that a substantial amount of work in this assignment is field based.

# Qualification and Experience of Key Personnel

The Consultant shall identify and deploy a team necessary to carry out the assignment and should describe clearly the functions of each team member. The Consultant is however expected to provide a team, composed of the following key staff. The Consultant has the right to propose additional staff/competencies/short-term specialists as deemed appropriate for the successful execution of the assignment.

Table 1: Professional Requirement

| No | Job Title | # | Qualification and Education | Specific Experiences | General Experience | Time-Month |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Project Manager/ Team Leader | 1 | MSc in Hydrogeology/ Water Resources Engineering | At least 10 years of specific experiences in hydrogeology and groundwater development management of which 3 years in management of drilling operation and contract administration works | At least 13 years of general experience in Infrastructure Construction, Study and Design of Water Supply in WaSH/WRM/ Irrigation or construction sectors | 14 |
| 2 | Senior Hydrogeologist | 1 | MSc in Hydrogeology | At least 10 years of specific experiences in hydrogeological investigation and groundwater development and drilling work supervision | At least 12 years of general experience in Mining, Study and Design of Water Supply in WaSH/WRM/ Irrigation or Mining and drilling sectors | 14 |
| 3 | Senior Geophysicist | 2 | MSc in Geophysics or related fields | At least 8 years experiences in geophysical application to water source mapping (groundwater investigation and borehole logging), analysis and interpretation | At least 10 years general experiences in geophysics and groundwater exploration in WaSH/WRM/Irrigation or construction sub sectors | 5 |
| 4 | Senior Geologist | 2 | MSc in Geology | At least 10 years of specific experience in geological investigation related to groundwater applications | At least 13 years of general experiences in geological and geomorphological mapping works in WaSH/WRM/Irrigation or construction sectors | 5 |
| 5 | Senior Hydrologist | 1 | M.Sc. in Hydrology/ Water Resource Engineering/ Hydraulics Engineering or related fields | At least 10 years of specific experience in hydrological study and water supply works | At least 13 years of general experience in hydrological works in WaSH/WRM/Irrigation/ Mining /drilling sub sectors | 5 |
| 6 | Senior RS & GIS Expert | 1 | MSc in RS & GIS or related fields | At least 10 years of GIS, Remote Sensing or relevant mapping experience in water supply works | At least 12 years of general experience in GIS and Remote Sensing WaSH/WRM/ Irrigation or construction sectors | 5 |
| 7 | Supervising Hydrogeologists | 5 | BSC/MSc in Geology/ Hydrogeology | At least 10/8 years specific experiences in supervision of drilling and construction of deep-water wells and contract administration works | At least 12/10 years general experiences in geological and water works study design in WaSH/WRM/Irrigation or construction sectors | 12 |
| 8 | Senior Socio-Economist | 1 | MSc in Sociology or related fields | At least 8-years of specific experiences in socio-economic study works in the water sector | At least 10-years of general experiences in socio-economic study and design of Water supply projects of WaSH/WRM/Irrigation or construction sectors | 5 |
| 9 | Senior Environmentalist | 1 | MSc in Environmental Engineering or related fields | At least 8-years of specific experiences in Environmental study works in the water sector | At least 10-years of general experience in Environmental study and design of Water supply projects of WaSH/WRM/Irrigation or construction sectors | 5 |